## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 1
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Isle of Man Offshore Wind Farm | Mooir Vannin Offshore Wind Farm Limited | IMW01 OFFSHORE 275/66KV OFFSHORE SUBSTATION |  | 0.0 | 1320.0 | 1320.0 | 30/10/2037 | Scoping | Direct Connection | NGET | Wind Offshore | a1f8e0000004LuHAAU | PRO-003698 | 1

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 1
Modified Entries | 9
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
DELETED | Entry removed from TEC register. | Chickerell Solar PV & BESS | CHICKERELL STORAGE LIMITED | Chickerell 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2028-10-31 | Consents Approved | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f4L000000EHAiQAO | PRO-001598 | 2
MODIFIED | Gate Status: '' -> '1' | Acton Reynald | SOLAR 2 LIMITED | Staffordshire Connection Node D 132kV Substation |  | 0.0 | 150.0 | 150.0 | 31/10/2037 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000GriDIAS | PRO-004437 | 1
MODIFIED | Gate Status: '' -> '1' | Derwent Solar 2 | Derwent Solar 2 Limited | Osbaldwick (North Humber Connection Node E) 132kv Substation |  | 0.0 | 200.0 | 200.0 | 31/10/2039 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | a1fJ9000000H87GIAS | PRO-005908 | 1
MODIFIED | Gate Status: '' -> '1' | Drum of Clunas Wind and Solar Park | BROADHAVEN DISTRIBUTION LIMITED | DRUM OF CLUNAS WIND 275KV SUBSTATION |  | 0.0 | 150.0 | 150.0 | 31/10/2031 | Scoping | Direct Connection | SHET | Wind Onshore | a1f8e0000015UNxAAM | PRO-003970 | 1
MODIFIED | Gate Status: '' -> '1' | ER BUR Energy | ER PROJECT DEVELOPMENT CO LIMITED | Burwell South 400kV Substation |  | 0.0 | 57.0 | 57.0 | 28/10/2033 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000015WoPAAU | PRO-003721 | 1
MODIFIED | Gate Status: '' -> '1' | Martindale Farm | BSR APPLICATIONS LIMITED | Hartmoor GSP |  | 0.0 | 239.9 | 239.9 | 30/10/2039 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a1fJ9000000H1lAIAS | PRO-005153 | 1
MODIFIED | Gate Status: '' -> '1' | North Ray Solar Farm 2 | NORTH RAY SOLAR FARM 2 LTD | Grimsby West GSP |  | 0.0 | 180.0 | 180.0 | 30/10/2035 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | a1fJ9000000H1sQIAS | PRO-004502 | 1
MODIFIED | Gate Status: '' -> '1' | Sedgeby Solar Farm | Sedgeby Solar Limited | Thormanby 400kV Substation |  | 0.0 | 350.0 | 350.0 | 28/10/2033 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000008T4cAAE | PRO-002123 | 1
MODIFIED | Gate Status: '' -> '1' | Shrewsbury Energy | SHREWSBURY ENERGY LTD | Staffordshire Connection Node D 132kV Substation |  | 0.0 | 149.6 | 149.6 | 30/10/2037 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000GzTSIA0 | PRO-004982 | 1
MODIFIED | Gate Status: '' -> '1' | West Grimsby Farm | ELGIN ENERGY ES CO LIMITED | Grimsby West 132kV Substation |  | 0.0 | 150.0 | 150.0 | 31/10/2035 | Awaiting Consents | Embedded | NGET | PV Array (Photo Voltaic/solar) | a1f8e0000015UP5AAM | PRO-004434 | 1