## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 0
Detailed Change Records:

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 17
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Bradford Solar Farm | SolarFour Ltd | Staffordshire Connection Node A 400kV Substation |  | 0.0 | 960.0 | 960.0 | 2033-10-31 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | a0l8e0000011yCAAAY | PRO-003511 | 1
MODIFIED | Gate Status: '' -> '1' | Cilfynydd Green Energy Centre | CILFYNYDD NG LIMITED | Cilfynydd 400kV Substation | 1 | 0.0 | 400.0 | 400.0 | 2028-10-30 | Awaiting Consents | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005idMQAQ | PRO-001663-1 | 1
MODIFIED | Gate Status: '' -> '1' | Cilfynydd Green Energy Centre | CILFYNYDD NG LIMITED | Cilfynydd 400kV Substation | 2 | 0.0 | 625.0 | 1025.0 | 2033-10-31 | Awaiting Consents | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005idMQAQ | PRO-001663-2 | 1
MODIFIED | Gate Status: '' -> '1' | Clashindarroch Windfarm Extension | CLASHINDARROCH WINDFARM EXTENSION LIMITED | Clashindarroch Windfarm Extension 132kV Substation |  | 0.0 | 145.2 | 145.2 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0l8e0000012kkvAAA | PRO-004769 | 1
MODIFIED | Gate Status: '' -> '1' | Creag Dhubh Windfarm | Invenergy Development UK Ltd | Creag Dhubh Wind Farm and BESS 132kV Substation |  | 0.0 | 171.0 | 171.0 | 2033-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0lJ9000000PDmkIAG | PRO-005014 | 1
MODIFIED | Gate Status: '' -> '1' | Dove Solar | RWE Renewables UK Solar and Storage Limited | North Anglia Connection Node E 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001Hq1lAAC | PRO-004166 | 1
MODIFIED | Gate Status: '' -> '1' | EcoMablethorpe | Econergy International Limited | Mablethorpe 400kV Substation |  | 0.0 | 249.0 | 249.0 | 2034-08-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wPHAAY | PRO-002583 | 1
MODIFIED | Gate Status: '' -> '1' | ER LIL Energy | ER PROJECT DEVELOPMENT CO LIMITED | Hope 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2036-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000exRzAAI | PRO-003718 | 1
MODIFIED | Gate Status: '' -> '1' | Galileo 07 Limited | GALILEO 07 LIMITED | GALILEO 07 LIMITED 132KV SUBSTATION |  | 0.0 | 150.0 | 150.0 | 2032-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0lJ9000000PDr3IAG | PRO-005029 | 1
MODIFIED | Gate Status: '' -> '1' | GALILEO 16 | GALILEO 16 LIMITED | Galileo 16 132kV Substation |  | 0.0 | 125.0 | 125.0 | 2032-10-29 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0lJ9000000PEBCIA4 | PRO-005117 | 1
MODIFIED | Gate Status: '' -> '1' | Grantham Generation | Aukera Energy Limited | Trent Valley South Connection Node C 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPFwAAO | PRO-003230 | 1
MODIFIED | Gate Status: '' -> '1' | Leighton Buzzard | Leighton Buzzard 10 Renewables Limited | West Anglia Connection Node A 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Demand;PV Array (Photo Voltaic/solar) | a0l8e000000TPR0AAO | PRO-003411 | 1
MODIFIED | Gate Status: '' -> '1' | Lynemore Wind Farm | GGE Scotland Ltd | Lynemore Windfarm 132kV Substation |  | 0.0 | 84.0 | 84.0 | 2031-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0l8e000001Hr2cAAC | PRO-004173 | 1
MODIFIED | Gate Status: '' -> '1' | New Little Horsted 200MW Solar and BESS | PRIVATE ENERGY PARTNERS (UK) LTD | Sussex and Romney Connection Node A 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012kr1AAA | PRO-004783 | 1
MODIFIED | Gate Status: '' -> '1' | Peninsula Energy Park | Renantis UK Limited | PENINSULA ENERGY PARK 220kV SUBSTATION |  | 0.0 | 249.9 | 249.9 | 2035-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0lJ9000000blsMIAQ | PRO-004961 | 1
MODIFIED | Gate Status: '' -> '1' | Rivox Wind Farm | RIVOX WIND ENERGY HUB LIMITED | Rivox 132/33kV |  | 0.0 | 220.0 | 220.0 | 2031-10-10 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0l4L0000005iYSQAY | PRO-001944 | 1
MODIFIED | Gate Status: '' -> '1' | Willington East 1 (Tertiary) | ENSO GREEN HOLDINGS U LIMITED | Willington East 400/33kV Substation |  | 0.0 | 47.5 | 47.5 | 2027-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ippQAA | PRO-000551 | 1