## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 1
Modified Entries | 0
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
DELETED | Entry removed from TEC register. | Aurora Offshore Windfarm | AURORA FLOATING OFFSHORE WIND LIMITED | Alverdiscott 400kV Substation |  | 0.0 | 0.0 | 0.0 |  |  | Direct Connection | NGET | Wind Offshore | a0l4L0000005ij0QAA | PRO-001774

## Pot 1
Change Type | Count
New Entries | 1
Deleted Entries | 3
Modified Entries | 3
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
NEW | New entry in TEC register. | JG Pears | JG PEARS GRID CONNECTION LIMITED | High Marnham 275kV Substation |  |  | 0.0 | 0.0 |  | Built | Direct Connection | NGET | CHP (Combined Heat and Power);Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005irEQAQ | PRO-000250
DELETED | Entry removed from TEC register. | JG Pears | JG PEARS GRID CONNECTION LIMITED | High Marnham 275kV Substation | 1.0 | 13.0 | 0.0 | 13.0 |  | Built | Direct Connection | NGET | CHP (Combined Heat and Power);Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005irEQAQ | PRO-000250-1
DELETED | Entry removed from TEC register. | JG Pears | JG PEARS GRID CONNECTION LIMITED | High Marnham 275kV Substation | 2.0 | 17.0 | 0.0 | 30.0 | 2025-11-30 | Under Construction/Commissioning | Direct Connection | NGET | CHP (Combined Heat and Power);Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005irEQAQ | PRO-000250-2
DELETED | Entry removed from TEC register. | JG Pears | JG PEARS GRID CONNECTION LIMITED | High Marnham 275kV Substation | 3.0 | 0.0 | 420.0 | 450.0 | 2033-10-31 | Scoping | Direct Connection | NGET | CHP (Combined Heat and Power);Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005irEQAQ | PRO-000250-3
MODIFIED | Connection Date: '2029-10-31' -> '2030-10-31' | High Marnham (Tertiary) | ENSO GREEN HOLDINGS K LIMITED | High Marnham 400kV Substation |  | 0.0 | 57.0 | 57.0 | 2030-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ip9QAA | PRO-000531
MODIFIED | Connection Date: '2025-10-06' -> '2028-06-28' | Middleton Farm Solar | Bluestone Energy Ltd | Elderslie 132/33kV |  | 0.0 | 38.7 | 38.7 | 2028-06-28 | Scoping | Embedded | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000f6JtAAI | PRO-003977
MODIFIED | Connection Date: '2024-06-07' -> '2027-10-30'; Gate Status: '' -> '2' | Worset PV & BESS Park | Worcestershire Solar 1 Limited | Hartmoor 275kV Substation |  | 0.0 | 37.5 | 37.5 | 2027-10-30 | Consents Approved | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ieLQAQ | PRO-001055 | 2