## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 0
Detailed Change Records:

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 26
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Aberthaw (Tertiary) | Aberthaw Green Limited | Aberthaw 275kV Substation |  | 0.0 | 57.0 | 57.0 | 2029-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e00000158oEAAQ | PRO-000376 | 1
MODIFIED | Gate Status: '' -> '1' | Ayr Flexpower | Ayr Flexpower Limited | AYR DBB 275KV SUBSTATION |  | 0.0 | 450.0 | 450.0 | 2037-10-30 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000H1ngIAC | PRO-004489 | 1
MODIFIED | Gate Status: '' -> '1' | Boom Power Feckenham Generation Hub | Wheaten Hill BESS Limited | Feckenham 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000004OZwAAM | PRO-002312 | 1
MODIFIED | Gate Status: '' -> '1' | Borders Solar | BUCCLEUCH ESTATES, LTD. (THE) | Wyseby Hill GSP |  | 0.0 | 228.0 | 228.0 | 2036-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000Gri3IAC | PRO-004484 | 1
MODIFIED | Gate Status: '' -> '1' | BrynGwyn Energy Park | BRYNGWYN ENERGY PARK LIMITED | Pont Abraham GSP |  | 0.0 | 250.0 | 250.0 | 2028-10-31 | Scoping | Embedded | NGET | Wind Onshore | a1f8e0000015X3CAAU | PRO-001921 | 1
MODIFIED | Gate Status: '' -> '1' | Cowley Farm 2 | COWLEY 7 RENEWABLES LTD | Cowley 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2038-11-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000004RyUAAU | PRO-002738 | 1
MODIFIED | Gate Status: '' -> '1' | East Claydon High Impact Green Energy Hub (HIGEH) 1 | EAST CLAYDON STORAGE LIMITED | East Claydon 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Reactive Compensation;Wind Onshore | a1f8e0000004S7dAAE | PRO-002652 | 1
MODIFIED | Gate Status: '' -> '1' | EcoKilwinning | Econergy International Limited | ECOKILWINNING 132KV SUBSTATION |  | 0.0 | 100.0 | 100.0 | 2031-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000fyqZIAQ | PRO-003559 | 1
MODIFIED | Gate Status: '' -> '1' | Elmya Gissing BESS & PV | RPC ELMYA CARNATION GISSING LIMITED | North Anglia Connection Node A 400kV |  | 0.0 | 900.0 | 900.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000GrhyIAC | PRO-004657 | 1
MODIFIED | Gate Status: '' -> '1' | Elmya Kilworth BESS & PV | RPC ELMYA CARNATION KILWORTH LIMITED | Derbyshire Connection Node H 400kV Substation |  | 0.0 | 850.0 | 850.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000GriIIAS | PRO-004739 | 1
MODIFIED | Gate Status: '' -> '1' | EPL Suffolk | EPL NEWCO9 LIMITED | North Anglia Connection Node E 400kV Substation |  | 0.0 | 480.0 | 480.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000015UOqAAM | PRO-003916 | 1
MODIFIED | Gate Status: '' -> '1' | Ewerby | Leoda Solar Farm Limited | Navenby 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2029-10-30 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e00000158iGAAQ | PRO-002017 | 1
MODIFIED | Gate Status: '' -> '1' | Hawkwood Wind Farm | WILSON RENEWABLES IV LLP | Hawkwood Windfarm 33kV Substation |  | 0.0 | 34.0 | 34.0 | 2030-04-30 | Scoping | Direct Connection | SPT | Wind Onshore | a1f8e0000008TDVAA2 | PRO-003450 | 1
MODIFIED | Gate Status: '' -> '1' | Highland Wind Farm | HIGHLAND WIND FARM LIMITED | Highland Wind Farm 132/33kV substation |  | 0.0 | 168.0 | 168.0 | 2030-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a1fJ9000000GrVqIAK | PRO-004390 | 1
MODIFIED | Gate Status: '' -> '1' | Navenby GEC (Ethos Green) | NAVENBY GREEN ENERGY CENTRE LTD | Navenby 400kV Substation |  | 0.0 | 580.0 | 580.0 | 2033-10-30 | Awaiting Consents | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar);Reactive Compensation | a1f8e0000004Ou5AAE | PRO-003936 | 1
MODIFIED | Gate Status: '' -> '2' | Priestgill Wind Farm | PRIESTGILL WIND FARM LIMITED | Elvanfoot substation |  | 0.0 | 43.63 | 43.63 | 2026-11-30 | Consents Approved | Direct Connection | SPT | Wind Onshore | a1f4L000000EHE3QAO | PRO-000448 | 2
MODIFIED | Gate Status: '' -> '1' | Rat Hall Mod App | Kingsway Solar Farm Limited | South Anglia Connection Node C 400kV Substation | 2 | 0.0 | 500.0 | 700.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000015XJgAAM | PRO-003824-2 | 1
MODIFIED | Gate Status: '' -> '1' | Riccarton | M2 Energy Storage Limited | Currie 275/132kV |  | 0.0 | 150.0 | 150.0 | 2029-04-13 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000015X32AAE | PRO-003066 | 1
MODIFIED | Gate Status: '' -> '1' | Rugeley | IGP SOLAR 17 LIMITED | Rugeley 400kV Substation |  | 0.0 | 600.0 | 600.0 | 2031-08-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f4L000000EH8iQAG | PRO-001630 | 1
MODIFIED | Gate Status: '' -> '1' | Stockhills Farm | BSR APPLICATIONS LIMITED | Severn Connection Node A 400kv Substation |  | 0.0 | 800.0 | 800.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a1f8e0000015XMQAA2 | PRO-004323 | 1
MODIFIED | Gate Status: '' -> '1' | Tioram Wind Farm | Invenergy Development UK Ltd | NEW CARRADALE 132KV SUBSTATION |  | 0.0 | 160.0 | 160.0 | 2037-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a1fJ9000000H1odIAC | PRO-005973 | 1
MODIFIED | Gate Status: '' -> '2' | Whitelaw Brae Windfarm | WHITELAW BRAE WINDFARM LIMITED | Whitelaw Brae 'A' and 'B' 33kV Substations |  | 0.0 | 57.0 | 57.0 | 2026-07-31 | Scoping | Direct Connection | SPT | Wind Onshore | a1f4L000000EHH6QAO | PRO-000341 | 2
MODIFIED | Gate Status: '' -> '1' | Willington East 1 (Tertiary) | ENSO GREEN HOLDINGS U LIMITED | Willington East 400kV Substation |  | 0.0 | 47.5 | 47.5 | 2027-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f4L000000EHIpQAO | PRO-000551 | 1
MODIFIED | Gate Status: '' -> '1' | Willington East 2 (Tertiary) | ENSO GREEN HOLDINGS SS LIMITED | Willington East 400kV Substation |  | 0.0 | 47.5 | 47.5 | 2028-07-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f4L000000EHIrQAO | PRO-000548 | 1
MODIFIED | Capacity: '85.5' -> '87.6'; Connection Date: '01/06/2026' -> '2027-10-31'; Gate Status: '' -> '2' | Windy Standard III Wind Farm | Windy Standard III Limited | Dun Hill 132/33kV | 2 | 0.0 | 44.1 | 87.6 | 2027-10-31 | Awaiting Consents | Direct Connection | SPT | Wind Onshore | a1f4L000000EHGDQA4 | PRO-000359-2 | 2
MODIFIED | Capacity: '96.0' -> '98.1' | Windy Standard III Wind Farm | Windy Standard III Limited | Dun Hill 132/33kV | 3 | 0.0 | 10.5 | 98.1 | 2026-06-01 | Awaiting Consents | Direct Connection | SPT | Wind Onshore | a1f4L000000EHGEQA4 | PRO-000359-3