## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 0
Detailed Change Records:

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 7
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Car Duibh Wind Farm | CAR DUIBH WIND FARM LIMITED | Car Duibh 275kV Substation |  | 0.0 | 99.0 | 99.0 | 2034-10-31 | Awaiting Consents | Direct Connection | SHET | Wind Onshore | a1f8e0000004QLqAAM | PRO-002342 | 1
MODIFIED | Gate Status: '' -> '1' | Coille Beith Wind Farm | COILLE BEITH WIND FARM LIMITED | Oykel Wind Farm 132kV Substation |  | 0.0 | 79.2 | 79.2 | 2032-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a1f8e000000Dh3VAAS | PRO-002711 | 1
MODIFIED | Gate Status: '' -> '1' | Cottam-Ryhall Solar & BESS | CRH RENEWABLES LIMITED | Trent Valley South Connection Node B 400kV Substation. |  | 0.0 | 400.0 | 400.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000GsbCIAS | PRO-004100 | 1
MODIFIED | Gate Status: '' -> '1' | Dewley Hill PV and BESS | Northumberland Estates Limited | DEWLEY HILL EHV |  | 0.0 | 149.9 | 149.9 | 2036-10-31 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000004OYyAAM | PRO-002558 | 1
MODIFIED | Gate Status: '' -> '1' | Olivers Forest Wind Farm | Oliver Forest Wind Farm Limited | Olivers Forest Wind Farm 132kV Substation |  | 0.0 | 79.2 | 79.2 | 2031-04-30 | Awaiting Consents | Direct Connection | SPT | Wind Onshore | a1f8e000000Dr4hAAC | PRO-002648 | 1
MODIFIED | Gate Status: '' -> '1' | Ratcliffe on Soar | Starlight Energy SPV 4 Limited | Derbyshire Connection Node F 132KV |  | 0.0 | 200.0 | 200.0 | 2034-10-31 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1f8e0000015XJbAAM | PRO-003224 | 1
MODIFIED | Gate Status: '' -> '1' | UK105-B Upland Arms | URUK BESS LIMITED | Llandyfaelog 400/132kV Substation |  | 0.0 | 200.0 | 200.0 | 2036-12-06 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a1fJ9000000GtIBIA0 | PRO-004649 | 1