## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 1
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Equinor Celtic Sea 2 | EQUINOR NEW ENERGY LIMITED | EQUINOR 66KV OFFSHORE SUBSTATION |  | 0.0 | 1000.0 | 1000.0 | 2036-12-06 | Scoping | Direct Connection | NGET | Wind Offshore | a0l8e000000f8QHAAY | PRO-004038 | 1

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 32
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Achrugan Wind Farm | Statkraft Windco 1 Limited | Achrugan 132kV Substation |  | 0.0 | 149.0 | 149.0 | 2030-07-31 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l4L0000005ivEQAQ | PRO-002267 | 1
MODIFIED | Gate Status: '' -> '1' | Appin Wind Farm | Appin Wind Farm Limited | Appin Wind Farm 132kV Substation |  | 0.0 | 66.0 | 66.0 | 2031-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e0000010wXBAAY | PRO-002661 | 1
MODIFIED | Gate Status: '' -> '1' | Bolney Farm | Dragon Green 2 Renewables Ltd | Bolney 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wYEAAY | PRO-002674 | 1
MODIFIED | Gate Status: '' -> '1' | Carn Fearna Wind Farm | Carn Fearna Wind Farm Limited | Carn Fearna Wind Farm 132/33kV Substation |  | 0.0 | 85.0 | 85.0 | 2030-06-30 | Scoping | Direct Connection | SHET | Wind Onshore | a0l4L0000005ivTQAQ | PRO-002231 | 1
MODIFIED | Gate Status: '' -> '1' | Cellarhead | ENSO GREEN HOLDINGS X LIMITED | Cellarhead 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikWQAQ | PRO-002161 | 1
MODIFIED | Gate Status: '' -> '1' | Crawcroft Lane Solar and Storage | BSR APPLICATIONS LIMITED | South Humber Connection Node A 400kV |  | 0.0 | 240.0 | 240.0 | 2039-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000PFJeIAO | PRO-005897 | 1
MODIFIED | Gate Status: '' -> '1' | Dungeness Energy Park | SOUTH KENT ENERGY PARK LIMITED | Dungeness 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iZRQAY | PRO-001986 | 1
MODIFIED | Gate Status: '' -> '1' | Glenfiddich West | BORALEX LIMITED | New North East Substation 400kV Substation |  | 0.0 | 600.0 | 600.0 | 2037-10-31 | Scoping | Direct Connection | SHET | Demand;Energy Storage System;Wind Onshore | a0lJ9000000POfHIAW | PRO-006064 | 1
MODIFIED | Gate Status: '' -> '1' | Glenrothes Hybrid BESS & Solar PV | TAGENERGY DEVELOPMENT UK LIMITED | Conland Substation |  | 0.0 | 200.0 | 200.0 | 2031-10-30 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPJUAA4 | PRO-003252 | 1
MODIFIED | Gate Status: '' -> '1' | Huntingdon High Impact Energy Hub 1 | TELIS ENERGY UK LIMITED | West Anglia Connection Node H 400kVSubstation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012hmsAAA | PRO-004507 | 1
MODIFIED | Gate Status: '' -> '1' | Indian Queens | GRIDMOVE LTD | Indian Queens 400kV Substation |  | 0.0 | 437.0 | 437.0 | 2031-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ix9QAA | PRO-001676 | 1
MODIFIED | Gate Status: '' -> '1' | Knarie | Invenergy Development UK Ltd | Narie 400/132kV Substation |  | 0.0 | 297.0 | 297.0 | 2036-10-31 | Awaiting Consents | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0l8e000001Hny0AAC | PRO-004048 | 1
MODIFIED | Gate Status: '' -> '1' | Land at Leitholm | NOVENTUM POWER SOLAR 6 LIMITED | LAND AT LEITHOLM 132KV SUBSTATION |  | 0.0 | 49.9 | 49.9 | 2031-07-31 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HxadAAC | PRO-004265 | 1
MODIFIED | Gate Status: '' -> '1' | Lightsource Bramford PV & BESS | Lightsource Renewable UK Development Limited | South Anglia Connection Node A 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2034-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f42RAAQ | PRO-003835 | 1
MODIFIED | Gate Status: '' -> '1' | MALTBY DEV. | Firma Vogt Solar Ltd | Thurcroft 275kV Substation |  | 0.0 | 400.0 | 400.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010xRuAAI | PRO-003064 | 1
MODIFIED | Gate Status: '' -> '1' | Melton Mowbray High Impact Energy Hub 1 | TELIS ENERGY UK LIMITED | West Anglia Connection Node I 400kV substation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012hn2AAA | PRO-004509 | 1
MODIFIED | Gate Status: '' -> '1' | Mid Hill | Invenergy Development UK Ltd | Mid Hill 132kV Substation |  | 0.0 | 228.0 | 228.0 | 2034-10-30 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000PDlIIAW | PRO-005000 | 1
MODIFIED | Gate Status: '' -> '1' | Minnygryle Burn Energy Park | Wind 2 Project 6 Limited | Minnygryle Burn Energy Park 132kV substation |  | 0.0 | 84.0 | 84.0 | 2036-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0l8e000001HrDXAA0 | PRO-004204 | 1
MODIFIED | Gate Status: '' -> '1' | Noventum - Budby | NOVENTUM POWER SOLAR 15 LIMITED | Trent Valley South Connection Node D 400kV Substation |  | 0.0 | 380.0 | 380.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012jJEAAY | PRO-004652 | 1
MODIFIED | Gate Status: '' -> '1' | Project Invicta | PROJECT INVICTA LIMITED | East Kent Connection Node B 400kV Substation |  | 0.0 | 350.0 | 350.0 | 2036-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000001Hpe8AAC | PRO-004133 | 1
MODIFIED | Gate Status: '' -> '1' | Project Number 4 | Greta IV Limited | North Anglia Connection Node B 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010walAAA | PRO-002704 | 1
MODIFIED | Gate Status: '' -> '1' | Rat Hall Solar | Downing Renewable Developments LLP | Burwell South 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f4xCAAQ | PRO-003892 | 1
MODIFIED | Gate Status: '' -> '1' | SAGE | SAGE NORTH SEA LIMITED | St Fergus Mobil 132/11kV Substation |  | 0.0 | 20.0 | 20.0 | 2025-06-30 | Scoping | Direct Connection | SHET | Demand;PV Array (Photo Voltaic/solar) | a0l4L0000005iybQAA | PRO-002119 | 1
MODIFIED | Gate Status: '' -> '1' | Spalding High Impact Energy Hub | TELIS ENERGY UK LIMITED | West Anglia Connection Node G 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012hnqAAA | PRO-004517 | 1
MODIFIED | Gate Status: '' -> '1' | Staythorpe | ENSO GREEN HOLDINGS X LIMITED | Staythorpe 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2030-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005idgQAA | PRO-002083 | 1
MODIFIED | Gate Status: '' -> '1' | Tinnisburn Wind Farm | BAYWA R.E. UK LIMITED | Gretna Green 132 kV Substation |  | 0.0 | 70.0 | 70.0 | 2031-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0l8e000000f7BUAAY | PRO-003997 | 1
MODIFIED | Gate Status: '' -> '1' | Vale of Leven Wind Farm | Vale of Leven Wind Farm Limited | Vale of Leven 132kV substation |  | 0.0 | 72.0 | 72.0 | 2033-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e000000TPEZAA4 | PRO-003214 | 1
MODIFIED | Gate Status: '' -> '1' | Walton Road Energy Project | Lightsource Renewable UK Development Limited | Drakelow 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2029-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iuxQAA | PRO-002225 | 1
MODIFIED | Gate Status: '' -> '1' | West Weybridge | West Weybridge 10 Renewables Limited | London West Connection Node B 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2038-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPQwAAO | PRO-003410 | 1
MODIFIED | Gate Status: '' -> '1' | Windburn Wind Farm | WINDBURN WIND FARM LIMITED | Devonside 132kV Substation |  | 0.0 | 75.0 | 75.0 | 2034-10-01 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000POgFIAW | PRO-006075 | 1
MODIFIED | Gate Status: '' -> '1' | Woodcock Hill Wind Farm | ORSTED ONSHORE UK LIMITED | Woodcock Hill WF Substation |  | 0.0 | 90.0 | 90.0 | 2032-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l8e000001HxcZAAS | PRO-004282 | 1
MODIFIED | Gate Status: '' -> '1' | Woodland Ridge | CUBICO UK DEVELOPMENT LIMITED | Hawick 132kV Substation |  | 0.0 | 150.0 | 150.0 | 2034-07-03 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000PDz2IAG | PRO-005110 | 1