## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 1
Modified Entries | 3
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate | _id
DELETED | Entry removed from TEC register. | Campion Wind (Previously EOLFI Offshore) | CampionWind Limited | Eolfi Offshore Substation |  | 0 | 3000 | 3000 | 31/10/2033 | Scoping | Direct Connection | SHET | Wind Offshore | a0l4L0000005ihFQAQ | PRO-001538
MODIFIED | Gate Status: '' -> '1' | Merlin 2 Offshore Windfarm | OFFSHORE WIND LIMITED | Alverdiscott 400kV Substation |  | 0.0 | 1500.0 | 1500.0 | 2031-10-31 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005iZbQAI | PRO-001997 | 1 | 1404
MODIFIED | Gate Status: '' -> '1' | Merlin Offshore Wind Farm | OFFSHORE WIND LIMITED | Alverdiscott 400kV Substation |  | 0.0 | 300.0 | 300.0 | 2028-11-01 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005ihVQAQ | PRO-001728 | 1 | 1405
MODIFIED | Gate Status: '' -> '1' | North-East Offshore Hybrid Asset | National Grid Interconnector Holdings Limited | Kintore GSP |  | 0.0 | 1800.0 | 1800.0 | 2037-06-30 | Scoping | Direct Connection | SHET | Interconnector;Wind Offshore | a0lJ9000000blmhIAA | PRO-004942 | 1 | 1564

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 1
Modified Entries | 55
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate | _id
DELETED | Entry removed from TEC register. | Waternish Wind Farm Substaion | WIND DEVELOPMENT HOLDINGS LIMITED | Waternish Wind Farm 12KV Substation |  | 0 | 81.6 | 81.6 | 30/04/2034 | Scoping | Direct Connection | SHET | Wind Onshore | a0l4L0000005ikeQAA | PRO-002295
MODIFIED | Gate Status: '' -> '1' | Bernicia Energy Park | BAYWA R.E. UK LIMITED | Stella West 400kV Substation |  | 0.0 | 350.0 | 350.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012hphAAA | PRO-004541 | 1 | 171
MODIFIED | Gate Status: '' -> '1' | Bolney (tertiary) | BOLNEY GREEN LIMITED | Bolney 400kV Substation |  | 0.0 | 57.0 | 57.0 | 2028-05-29 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ilrQAA | PRO-000380 | 1 | 228
MODIFIED | Gate Status: '' -> '1' | Bridgwater 2 (tertiary) - New Conn | BRIDGWATER GREEN LIMITED | Bridgewater 400kV Substation |  | 0.0 | 57.0 | 57.0 | 2029-08-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iYjQAI | PRO-001347 | 1 | 285
MODIFIED | Gate Status: '' -> '1' | Bulls Lodge Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Braintree 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2033-03-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wdkAAA | PRO-002737 | 1 | 307
MODIFIED | Gate Status: '' -> '1' | Capenhurst | ENSO GREEN HOLDINGS LIMITED | Capenhurst 275kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-09-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ioiQAA | PRO-000540 | 1 | 350
MODIFIED | Gate Status: '' -> '1' | Chickerell | ENSO GREEN HOLDINGS X LIMITED | Chickerell 400kV Substation | 1 | 0.0 | 200.0 | 200.0 | 2036-12-06 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikqQAA | PRO-002186-1 | 1 | 394
MODIFIED | Gate Status: '' -> '1' | Chickerell | ENSO GREEN HOLDINGS X LIMITED | Chickerell 400kV Substation | 2 | 0.0 | 100.0 | 300.0 | 2037-10-31 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikqQAA | PRO-002186-2 | 1 | 395
MODIFIED | Gate Status: '' -> '1' | Chickerell | ENSO GREEN HOLDINGS X LIMITED | Chickerell 400kV Substation | 3 | 0.0 | 100.0 | 400.0 | 2038-10-31 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikqQAA | PRO-002186-3 | 1 | 396
MODIFIED | Gate Status: '' -> '1' | Cilfynydd | ENSO GREEN HOLDINGS X LIMITED | Cilfynydd 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2030-10-31 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005idlQAA | PRO-002088 | 1 | 403
MODIFIED | Gate Status: '' -> '1' | Cliffhope | Invenergy Development UK Ltd | Teviot 400/132kV Substation |  | 0.0 | 205.0 | 205.0 | 2034-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000POVrIAO | PRO-006052 | 1 | 422
MODIFIED | Gate Status: '' -> '1' | Cruach Bhreac Wind Farm | Statkraft UK Ltd | Craig Murrail GSP |  | 0.0 | 100.8 | 100.8 | 2034-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0l8e000000f4w9AAA | PRO-003879 | 1 | 524
MODIFIED | Gate Status: '' -> '1' | East Lincolnshire Solar | Statkraft UK Ltd | Lincolnshire Coastal Node B 400kV Substation |  | 0.0 | 800.0 | 800.0 | 2035-05-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012khcAAA | PRO-004737 | 1 | 662
MODIFIED | Gate Status: '' -> '1' | East Pit | CS UK HOLDINGS III LIMITED | Rhigos 400kV Substation |  | 0.0 | 750.0 | 750.0 | 2037-10-15 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wdfAAA | PRO-002736 | 1 | 663
MODIFIED | Gate Status: '' -> '1' | EcoWymondley | Econergy International Limited | Wymondley 2 400kV Substation |  | 0.0 | 249.0 | 249.0 | 2033-10-30 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005j9sQAA | PRO-002529 | 1 | 678
MODIFIED | Gate Status: '' -> '1' | ER TWD Energy | ER PROJECT DEVELOPMENT CO LIMITED | Llanteg 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2037-09-15 | Scoping | Direct Connection | NGET | Energy Storage System;Wind Onshore | a0l8e000000exS4AAI | PRO-003719 | 1 | 741
MODIFIED | Gate Status: '' -> '1' | Enderby Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Earl Shilton 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010weEAAQ | PRO-002743 | 1 | 717
MODIFIED | Gate Status: '' -> '1' | ER BBR Energy | ER PROJECT DEVELOPMENT CO LIMITED | Er Bbr Energy 132kV Substation |  | 0.0 | 50.0 | 50.0 | 2029-10-30 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000011yBvAAI | PRO-003508 | 1 | 732
MODIFIED | Gate Status: '' -> '1' | ER BR Energy | ER PROJECT DEVELOPMENT CO LIMITED | Tween Bridge 400kV |  | 0.0 | 1000.0 | 1000.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000000exSTAAY | PRO-003724 | 1 | 733
MODIFIED | Gate Status: '' -> '1' | ER MKH Energy | ER PROJECT DEVELOPMENT CO LIMITED | Market Harborough 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-28 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Reactive Compensation | a0l8e0000010wTJAAY | PRO-002621 | 1 | 739
MODIFIED | Gate Status: '' -> '1' | Exeter Main | ENSO GREEN HOLDINGS X LIMITED | Exeter 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-28 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005idfQAA | PRO-002082 | 1 | 756
MODIFIED | Gate Status: '' -> '1' | Greta IV (b) | Greta IV Limited | North Anglia Connection Node B 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012guYAAQ | PRO-004499 | 1 | 945
MODIFIED | Gate Status: '' -> '1' | Harlaston | SSE DE SOLAR HOLDCO LIMITED | Harlaston 400kV Substation |  | 0.0 | 600.0 | 600.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f40fAAA | PRO-003814 | 1 | 987
MODIFIED | Gate Status: '' -> '1' | Hoolan Hills Renewable Energy Park | RIDGE CLEAN ENERGY LTD | Holm Hill 132kV Substation |  | 0.0 | 66.0 | 66.0 | 2037-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0lJ9000000PNpTIAW | PRO-006001 | 1 | 1040
MODIFIED | Gate Status: '' -> '1' | Keith Solar Farm | KEITH SOLAR PV LIMITED | Keith Solar Farm 275kV Substation |  | 0.0 | 150.0 | 150.0 | 2028-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010waMAAQ | PRO-002699 | 1 | 1131
MODIFIED | Gate Status: '' -> '1' | Kilbraur North Wind Farm | EDF ENERGY RENEWABLES LIMITED | Kilbraur Wind Farm Substation |  | 0.0 | 79.2 | 79.2 | 2031-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0l8e000000f6hCAAQ | PRO-003987 | 1 | 1146
MODIFIED | Gate Status: '' -> '1' | Kingsnorth | ENSO GREEN HOLDINGS G LIMITED | Kingsnorth 132kV Substation |  | 0.0 | 120.0 | 120.0 | 2028-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iZ5QAI | PRO-001360 | 1 | 1168
MODIFIED | Gate Status: '' -> '1' | Langage 400 | ENSO GREEN HOLDINGS X LIMITED | Langage 400kV Substation | 1 | 0.0 | 200.0 | 200.0 | 2036-12-19 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itlQAA | PRO-002192-1 | 1 | 1225
MODIFIED | Gate Status: '' -> '1' | Langage 400 | ENSO GREEN HOLDINGS X LIMITED | Langage 400kV Substation | 2 | 0.0 | 100.0 | 300.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itlQAA | PRO-002192-2 | 1 | 1226
MODIFIED | Gate Status: '' -> '1' | Langage 400 | ENSO GREEN HOLDINGS X LIMITED | Langage 400kV Substation | 3 | 0.0 | 100.0 | 400.0 | 2038-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itlQAA | PRO-002192-3 | 1 | 1227
MODIFIED | Gate Status: '' -> '1' | Legacy 400 | ENSO GREEN HOLDINGS LIMITED | Legacy 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005iznQAA | PRO-002193 | 1 | 1239
MODIFIED | Gate Status: '' -> '1' | Long Stratton 400 | ENSO GREEN HOLDINGS X LIMITED | North Anglia Connection Node A 400kV |  | 0.0 | 400.0 | 400.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000blPvIAI | PRO-004868 | 1 | 1330
MODIFIED | Gate Status: '' -> '1' | Ludgershall - Bicester Solar Farm PVDP | SolarFour Ltd | Chiltern Connection Node C 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2038-11-01 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HpehAAC | PRO-004140 | 1 | 1348
MODIFIED | Gate Status: '' -> '1' | Marston Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Marston Vale 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wdzAAA | PRO-002740 | 1 | 1379
MODIFIED | Gate Status: '' -> '1' | Norton | ENSO GREEN HOLDINGS X LIMITED | Norton East 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itMQAQ | PRO-002157 | 1 | 1568
MODIFIED | Gate Status: '' -> '1' | Norwich 2 | EDF ENERGY RENEWABLES LIMITED | Norwich Main 400kV Substation |  | 0.0 | 28.0 | 28.0 | 2033-06-30 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005itQQAQ | PRO-002408 | 1 | 1573
MODIFIED | Gate Status: '' -> '1' | Oakley | SSE DE SOLAR HOLDCO LIMITED | Oakley 400kV Substation |  | 0.0 | 600.0 | 600.0 | 2038-11-01 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f414AAA | PRO-003818 | 1 | 1595
MODIFIED | Gate Status: '' -> '1' | Penninghame Wind Farm | EDF ENERGY RENEWABLES LIMITED | Penninghame Substation |  | 0.0 | 60.0 | 60.0 | 2031-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e0000010wm8AAA | PRO-002830 | 1 | 1664
MODIFIED | Gate Status: '' -> '1' | Philiphaugh Wind Farm | EDF ENERGY RENEWABLES LIMITED | Philipaugh Substation |  | 0.0 | 175.0 | 175.0 | 2033-05-30 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e0000010wbAAAQ | PRO-002708 | 1 | 1683
MODIFIED | Gate Status: '' -> '1' | Pollington Hybrid | EDF ENERGY RENEWABLES LIMITED | Leeds North Connection Node B 400kV Substation |  | 0.0 | 440.0 | 440.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0lJ9000000PDtYIAW | PRO-005049 | 1 | 1699
MODIFIED | Gate Status: '' -> '1' | Rassau | ENSO GREEN HOLDINGS LIMITED | Rassau 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2030-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005idkQAA | PRO-002087 | 1 | 1729
MODIFIED | Gate Status: '' -> '1' | Ratcliffe-on-Soar | ENSO GREEN HOLDINGS C LIMITED | Ratcliffe-On-Soar 132kV Substation |  | 0.0 | 190.0 | 190.0 | 2029-07-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iyvQAA | PRO-001361 | 1 | 1739
MODIFIED | Gate Status: '' -> '1' | Ratcliffe-on-Soar II | ENSO GREEN HOLDINGS LIMITED | Ratcliffe-On-Soar 400kV Substation |  | 0.0 | 590.0 | 590.0 | 2033-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itNQAQ | PRO-002158 | 1 | 1740
MODIFIED | Gate Status: '' -> '1' | Sleat Hybrid | GALILEO 13 LIMITED | Broadford GSP |  | 0.0 | 100.0 | 100.0 | 2034-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l8e000000f7p3AAA | PRO-004014 | 1 | 1862
MODIFIED | Gate Status: '' -> '1' | Statkraft SEWF | Statkraft UK Ltd | Orrin GSP |  | 0.0 | 100.8 | 100.8 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0lJ9000000blMrIAI | PRO-004828 | 1 | 1916
MODIFIED | Gate Status: '' -> '1' | Stoke Bardolph 400 | ENSO GREEN HOLDINGS LIMITED | Stoke Bardolph 400kV Substation | 1 | 0.0 | 200.0 | 200.0 | 2030-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itiQAA | PRO-002191-1 | 1 | 1926
MODIFIED | Gate Status: '' -> '1' | Stoke Bardolph 400 | ENSO GREEN HOLDINGS LIMITED | Stoke Bardolph 400kV Substation | 2 | 0.0 | 100.0 | 300.0 | 2031-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itiQAA | PRO-002191-2 | 1 | 1927
MODIFIED | Gate Status: '' -> '1' | Stoke Bardolph 400 | ENSO GREEN HOLDINGS LIMITED | Stoke Bardolph 400kV Substation | 3 | 0.0 | 100.0 | 400.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005itiQAA | PRO-002191-3 | 1 | 1928
MODIFIED | Gate Status: '' -> '1' | Sundon Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Dunstable 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2032-10-29 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010weTAAQ | PRO-002746 | 1 | 1957
MODIFIED | Gate Status: '' -> '1' | Swansea | ENSO GREEN HOLDINGS LIMITED | Swansea North 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005idjQAA | PRO-002086 | 1 | 1964
MODIFIED | Gate Status: '' -> '1' | Tolkien Solar Farm | Tolkien Solar Farm Limited | Tolkien Farm 132kV Substation |  | 0.0 | 200.0 | 200.0 | 2033-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikfQAA | PRO-002294 | 1 | 2032
MODIFIED | Gate Status: '' -> '1' | West Andershaw Wind Farm | WEST ANDERSHAW WIND FARM LIMITED | West Andershaw 132kV Substation |  | 0.0 | 85.8 | 85.8 | 2030-04-30 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e0000010wPRAAY | PRO-002584 | 1 | 2117
MODIFIED | Gate Status: '' -> '1' | Whiteleigh Farm | QAIR RENEWABLES UK LIMITED | Pyworthy 400kV Substation |  | 0.0 | 300.0 | 300.0 | 2036-12-06 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iMIQAY | PRO-002385 | 1 | 2154
MODIFIED | Gate Status: '' -> '1' | Willington | SSE UTILITY SOLUTIONS LIMITED | Willington 400kV Substation |  | 0.0 | 600.0 | 600.0 | 2029-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iuYQAQ | PRO-002257 | 1 | 2162
MODIFIED | Gate Status: '' -> '1' | Woburn Solar Farm | SolarThree Ltd | Dunstable 400kV Substation |  | 0.0 | 840.0 | 840.0 | 2031-10-31 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | a0l8e0000010x0FAAQ | PRO-003033 | 1 | 2186
MODIFIED | Gate Status: '' -> '1' | Wymondley | ENSO GREEN HOLDINGS LIMITED | Wymondley 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iyNQAQ | PRO-002187 | 1 | 2200