## Pot 3 (Offshore Wind)
TEC Register Comparison: Pot 3 (Offshore Wind)
Version A: tec-register-2025-08-12.csv | Version B: tec-register-2025-12-13.csv
SUMMARY OF PROJECT CHANGES:
Metric | Value
Projects Added (in B only) | 0
Projects Removed (in A only) | 0
Projects with Field Change (excluding Added/Removed) | 16
--- | ---
Capacity Added (MW) | 0.00
Capacity Removed (MW) | 0.00
--- DETAILED PROJECT CHANGES ---
'ADDED' and 'CHANGED' rows show Version B (Latest) data.
'REMOVED' rows show Version A (Old) data.
Project ID | Project Name | Changes Made | Change_Type | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project Number | Gate
a0l4L0000005ihFQAQ | EOLFI Offshore | REMOVED PROJECT | REMOVED | Shell New Energies UK Ltd | Eolfi Offshore Substation | 0 | 0 | 3000 | 3000 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001538-0
a0l4L0000005itdQAA | Broadshore Offshore Wind Farm | Connection Site: Broadshore 400kV Offshore Substation -> Longside 400kV Substation | CHANGED | Broadshore Offshore Wind Farm Limited | Longside 400kV Substation |  | 0 | 900 | 900 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-002171
a0l4L0000005ia5QAA | Celtic 2 Offshore Wind Farm | Customer Name: RWE RENEWABLES UK LIMITED -> RWE Renewables UK Limited | CHANGED | RWE Renewables UK Limited | Alverdiscott 400kV Substation |  | 0 | 1000 | 1000 | 2031-10-31 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-002007
a0l4L0000005ihkQAA | Celtic Offshore Wind Farm | Customer Name: RWE RENEWABLES UK LIMITED -> RWE Renewables UK Limited | CHANGED | RWE Renewables UK Limited | Alverdiscott 400kV Substation |  | 0 | 400 | 400 | 2031-10-31 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-001760
a0l4L0000005imRQAQ | Dogger Bank Project C | Connection Site: Lackenby GSP -> Teeside Connection Node A 132kV Substation | CHANGED | DOGGERBANK OFFSHORE WIND FARM PROJECT 3 PROJCO LIMITED | Teeside Connection Node A 132kV Substation |  | 0 | 1200 | 1200 | 2025-04-01 | Consents Approved | Direct Connection | NGET | Wind Offshore | PRO-000409
a0l4L0000005iNUQAY | Havbredey | Customer Name: ANAM NA MARA LIMITED -> HAVBREDEY LIMITED | CHANGED | HAVBREDEY LIMITED | New Dounreay 400kV substation |  | 0 | 1500 | 1500 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001628
a0l4L0000005iisQAA | Magwind | Customer Name: MAGNORA OFFSHORE WIND AS -> MAGNORA OFFSHORE WIND N3 LIMITED; Connection Site: New Dounreay -> Talisk Offshore Wind Farm | CHANGED | MAGNORA OFFSHORE WIND N3 LIMITED | Talisk Offshore Wind Farm |  | 0 | 495 | 495 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001766
a0l4L0000005iZbQAI | Merlin 2 Offshore Windfarm | Gate: -> 1.0 | CHANGED | OFFSHORE WIND LIMITED | Alverdiscott 400kV Substation |  | 0 | 1500 | 1500 | 2031-10-31 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-001997 | 1
a0l4L0000005ihVQAQ | Merlin Offshore Wind Farm | Gate: -> 1.0 | CHANGED | OFFSHORE WIND LIMITED | Alverdiscott 400kV Substation |  | 0 | 300 | 300 | 2028-11-01 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-001728 | 1
a0l4L0000005irpQAA | Neart Na Gaoithe Offshore Wind Farm | MW Connected: 0.0 -> 448.0; MW Increase / Decrease: 448.0 -> 0.0; MW Effective From: 01/06/2023 -> NULL; Project Status: Consents Approved -> Built | CHANGED | NEART NA GAOITHE OFFSHORE WIND LIMITED | Neart Na Gaoithe 220/66KV Offshore Substation |  | 448 | 0 | 448 |  | Built | Direct Connection | SPT | Wind Offshore | PRO-000273
a0l4L0000005ibmQAA | North East Offshore Wind Farm | Stage: 0 -> 1.0; MW Increase / Decrease: 2000.0 -> 600.0; Cumulative Total Capacity (MW): 2,000.00 MW -> 2,600.00 MW; MW Effective From: 31/10/2033 -> 31/03/2031; Project Number: PRO-001436-0 -> PRO-001436-1 | CHANGED | CALEDONIA OFFSHORE WIND FARM LIMITED | New Deer 2 400kV Substation | 1 | 0 | 600 | 600 | 2031-03-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001436-1
a0l4L0000005ibmQAA | North East Offshore Wind Farm | Stage: 0 -> 1.0; MW Increase / Decrease: 2000.0 -> 600.0; Cumulative Total Capacity (MW): 2,000.00 MW -> 2,600.00 MW; MW Effective From: 31/10/2033 -> 31/03/2031; Project Number: PRO-001436-0 -> PRO-001436-1 | CHANGED | CALEDONIA OFFSHORE WIND FARM LIMITED | New Deer 2 400kV Substation | 2 | 0 | 1400 | 2000 | 2032-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001436-2
a0l4L0000005iaiQAA | OWF3 | Customer Name: SCOTTISHPOWER RENEWABLES (UK) LIMITED -> Marramwind Limited | CHANGED | Marramwind Limited | OWF3 275/66kV Offshore Substation | 1 | 0 | 1000 | 1000 | 2031-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001406-1
a0l4L0000005iaiQAA | OWF3 | Customer Name: SCOTTISHPOWER RENEWABLES (UK) LIMITED -> Marramwind Limited | CHANGED | Marramwind Limited | OWF3 275/66kV Offshore Substation | 2 | 0 | 2000 | 3000 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001406-2
a0l4L0000005iqSQAQ | OWPL Windfarm | MW Increase / Decrease: 0.0 -> 750.0; Cumulative Total Capacity (MW): 4,500.00 MW -> 3,000.00 MW; MW Effective From: 31/10/2028 -> 31/12/2029 | CHANGED | OFFSHORE WIND POWER LIMITED | OWPL Windfarm Platform 220/66kV Offshore Substation | 1 | 0 | 750 | 750 | 2029-12-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-000568-1
a0l4L0000005iqSQAQ | OWPL Windfarm | MW Increase / Decrease: 0.0 -> 750.0; Cumulative Total Capacity (MW): 4,500.00 MW -> 3,000.00 MW; MW Effective From: 31/10/2028 -> 31/12/2029 | CHANGED | OFFSHORE WIND POWER LIMITED | OWPL Windfarm Platform 220/66kV Offshore Substation | 2 | 0 | 1500 | 2250 | 2030-12-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-000568-2
a0l4L0000005idGQAQ | Pentland Floating Offshore Wind Farm | Connection Site: OWF-100 Substation -> Pentland Floating Offshore Wind Farm 132/66kV substation | CHANGED | HIGHLAND WIND LIMITED | Pentland Floating Offshore Wind Farm 132/66kV substation |  | 0 | 100 | 100 | 2027-10-31 | Scoping | Direct Connection | SHET | Wind Offshore | PRO-001472
a0l4L0000005io1QAA | Rampion Extension Offshore Wind Farm | Connection Site: Rampion Offshore Wind Farm -> Bolney 400kV Substation | CHANGED | RAMPION EXTENSION DEVELOPMENT LIMITED | Bolney 400kV Substation |  | 0 | 1200 | 1200 | 2026-08-01 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-000467
a0l4L0000005imVQAQ | Sofia Offshore Wind Farm | Stage: 1 -> NULL; Project Number: PRO-000404-1 -> PRO-000404 | CHANGED | SOFIA OFFSHORE WIND FARM LIMITED | Dogger Bank 220kV Offshores |  | 0 | 1320 | 1320 | 2026-01-30 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-000404
a0l4L0000005izdQAA | Vanguard East | Connection Site: Necton 400kV Substation -> Vanguard East 275/66kV Offshore Substation | CHANGED | Norfolk Vanguard East Ltd | Vanguard East 275/66kV Offshore Substation | 1 | 0 | 400 | 400 | 2028-04-01 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-000580-1
a0l4L0000005izdQAA | Vanguard East | Connection Site: Necton 400kV Substation -> Vanguard East 275/66kV Offshore Substation | CHANGED | Norfolk Vanguard East Ltd | Vanguard East 275/66kV Offshore Substation | 2 | 0 | 920 | 1320 | 2028-12-31 | Scoping | Direct Connection | NGET | Wind Offshore | PRO-000580-2

## Pot 1 (Onshore-Solar)
TEC Register Comparison: Pot 1 (Onshore-Solar)
Version A: tec-register-2025-08-12.csv | Version B: tec-register-2025-12-13.csv
SUMMARY OF PROJECT CHANGES:
Metric | Value
Projects Added (in B only) | 2
Projects Removed (in A only) | 0
Projects with Field Change (excluding Added/Removed) | 56
--- | ---
Capacity Added (MW) | 630.85
Capacity Removed (MW) | 0.00
--- DETAILED PROJECT CHANGES ---
'ADDED' and 'CHANGED' rows show Version B (Latest) data.
'REMOVED' rows show Version A (Old) data.
Project ID | Project Name | Changes Made | Change_Type | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project Number | Gate
a0lJ9000000PFobIAG | Derwent Solar 2 | NEWLY ADDED PROJECT | ADDED | Derwent Solar 2 Limited | Osbaldwick GSP |  | 0 | 200 | 200 | 2039-10-31 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | PRO-005908
a0lJ9000000PNKlIAO | Kenwick Solar | NEWLY ADDED PROJECT | ADDED | ANESCO LIMITED | Shrewsbury 400kV Substation |  | 0 | 430.85 | 430.85 | 2037-10-31 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | PRO-005989
a0l4L0000005igoQAA | Airtnoch BESS | REMOVED PROJECT | REMOVED | TURBINE MARKETING SPV LIMITED | Whitelee Extension 275/33kV | 0 | 0 | 89 | 89 | 2027-09-29 | Scoping | Direct Connection | SPT | PV Array (Photo Voltaic/solar) | PRO-001107-0
a0l8e000000TPDCAA4 | Summerston PV 50MW | REMOVED PROJECT | REMOVED | Bluestone Energy Ltd | Killermont 132/33kV | 0 | 0 | 50 | 100 | 2031-06-30 | Scoping | Embedded | SPT | PV Array (Photo Voltaic/solar) | PRO-003199-0
a0l4L0000005ikeQAA | Waternish Wind Farm Substaion | REMOVED PROJECT | REMOVED | WIND DEVELOPMENT HOLDINGS LIMITED | Waternish Wind Farm 12KV Substation | 0 | 0 | 81.6 | 81.6 | 2034-04-30 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-002295-0
a0l4L0000005ixnQAA | Beechgreen Energyfarm | MW Connected: 49.9 -> 49.995; Cumulative Total Capacity (MW): 49.90 MW -> 50.00 MW | CHANGED | BEECHGREEN ENERGYFARM LIMITED | Burwell Main 400kV Substation |  | 49.995 | 0 | 50 |  | Built | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | PRO-001018
a0l8e000000f5BiAAI | Beinn an Tuirc 1 | Connection Site: Carradale 1 GSP -> Beinn an Tuirc Substation | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Beinn an Tuirc Substation |  | 0 | 95.2 | 95.2 | 2034-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003918
a0l4L0000005ilaQAA | Benbrack Wind Farm | MW Connected: 0.0 -> 72.0; MW Increase / Decrease: 72.0 -> 0.0; MW Effective From: 30/01/2025 -> NULL; Project Status: Awaiting Consents -> Built | CHANGED | BENBRACK WIND FARM LIMITED | Benbrack Wind Farm 132/33kV Substation |  | 72 | 0 | 72 |  | Built | Direct Connection | SPT | Wind Onshore | PRO-000032
a0l4L0000005ilnQAA | Bhlaraidh Extension Wind Farm | MW Effective From: 01/04/2026 -> 17/08/2029 | CHANGED | SSE Generation Limited | Bhlaraidh 132/33kV Substation |  | 0 | 100.8 | 100.8 | 2029-08-17 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-000383
a0lJ9000000PDkoIAG | Blair Hill Wind Farm | Connection Site: Glenlee 132/11kV -> Craigenputtlock 400/132 kV Substation | CHANGED | Renewable Energy Systems Limited | Craigenputtlock 400/132 kV Substation |  | 0 | 99 | 99 | 2036-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-004994
a0l4L0000005iZKQAY | Borders Wind Farm | HOST TO: NGET -> SPT | CHANGED | EDF ENERGY RENEWABLES LIMITED | Borders Windfarm 132kV |  | 0 | 400 | 400 | 2033-05-30 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-001977
a0l4L0000005iXXQAY | Bryn Tilti | MW Effective From: 04/02/2027 -> 19/07/2028 | CHANGED | RHIWLAS ENERGY PARK LIMITED | Chirk GSP |  | 0 | 106 | 106 | 2028-07-19 | Scoping | Embedded | NGET | Wind Onshore | PRO-001586
a0l4L0000005iU6QAI | Cairn Duhie Wind Farm | Customer Name: Cairn Duhie Energy Limited -> Renewable Energy Systems Limited | CHANGED | Renewable Energy Systems Limited | Berry Burn GSP |  | 0 | 67.2 | 67.2 | 2027-10-31 | Scoping | Embedded | SHET | Wind Onshore | PRO-001743
a0l4L0000005iRLQAY | Cairnmore Hill Wind Farm | Connection Site: Thurso South GSP -> Thurso South 132/33kV GSP Substation | CHANGED | Cairnmore Hill Energy Limited | Thurso South 132/33kV GSP Substation |  | 0 | 36 | 36 | 2028-05-31 | Awaiting Consents | Embedded | SHET | Wind Onshore | PRO-001304
a0l8e0000012kcnAAA | Calderdale Wind Farm 312MW | Connection Site: Calderdale Wind Farm 275kV Substation -> Leeds North Connection Node B 400kV Substation | CHANGED | CALDERDALE WIND FARM LTD | Leeds North Connection Node B 400kV Substation |  | 0 | 312 | 312 | 2035-10-30 | Scoping | Direct Connection | NGET | Wind Onshore | PRO-004714
a0l4L0000005isGQAQ | Caple Rig [formerly Faw Side Community Wind Farm] | Connection Site: Faw Side Community Wind Farm Substation -> Caple Rig 132kV Substation; Project Status: Awaiting Consents -> Scoping | CHANGED | CWP Energy Limited | Caple Rig 132kV Substation |  | 0 | 250 | 250 | 2029-09-07 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000297
a0l4L0000005iVEQAY | Carnedd Wen Wind Farm | MW Effective From: 01/04/2026 -> 31/10/2030 | CHANGED | CARNEDD WEN WIND FARM LIMITED | Mid Wales West 132kV Substation |  | 0 | 150 | 150 | 2030-10-31 | Scoping | Embedded | NGET | Wind Onshore | PRO-000090
a0l8e000000TPK3AAO | Ceislein Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Ceislien Wind Farm |  | 0 | 85.8 | 85.8 | 2031-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003256
a0l4L0000005iZoQAI | Cloich Forest Wind Farm | HOST TO: SHET -> SPT | CHANGED | EDF ENERGY RENEWABLES LIMITED | Cloich 132kV Substation |  | 0 | 67.2 | 67.2 | 2029-07-31 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-001387
a0l4L0000005ilxQAA | Cloiche Wind Farm | MW Effective From: 31/07/2027 -> 01/02/2028 | CHANGED | SSE Generation Limited | Cloich 132kV Substation |  | 0 | 200 | 200 | 2028-02-01 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-000425
a0l8e000000f4yFAAQ | Creachan Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Creachan Wind Farm 132/33kV Substation |  | 0 | 79.2 | 79.2 | 2030-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003906
a0l8e000000f4w9AAA | Cruach Bhreac Wind Farm | Gate: -> 1.0 | CHANGED | Statkraft UK Ltd | Craig Murrail GSP |  | 0 | 100.8 | 100.8 | 2034-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003879 | 1
a0l4L0000005ipMQAQ | Crystal Rig IV Wind Farm | Connection Site: Crystal Rig 132/33kV -> Crystal Rig 400kV substation; MW Effective From: 30/06/2024 -> 13/10/2025 | CHANGED | CRYSTAL RIG IV LIMITED | Crystal Rig 400kV substation |  | 0 | 48.2 | 48.2 | 2025-10-13 | Under Construction/Commissioning | Direct Connection | SPT | Wind Onshore | PRO-000520
a0l4L0000005iqVQAQ | Daer Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Daer Wind Farm 132/33kV |  | 0 | 96 | 96 | 2028-08-01 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000565
a0l4L0000005imEQAQ | Dersalloch Wind Farm | MW Increase / Decrease: 11.0 -> 0.0; Cumulative Total Capacity (MW): 80.00 MW -> 69.00 MW; MW Effective From: 31/10/2027 -> NULL | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Dersalloch 132/33kV |  | 69 | 0 | 69 |  | Built | Direct Connection | SPT | Wind Onshore | PRO-000060
a0l4L0000005iUEQAY | Drax Solar | Customer Name: BOOM DEVELOPMENTS LTD -> East Yorkshire Solar Farm Limited | CHANGED | East Yorkshire Solar Farm Limited | Drax 400kV Substation |  | 0 | 400 | 400 | 2029-09-30 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | PRO-001759
a0l4L0000005iSXQAY | Druim Leathann BEGA | Customer Name: BAYWA R.E. UK LIMITED -> DRUIM LEATHANN WINDFARM LIMITED | CHANGED | DRUIM LEATHANN WINDFARM LIMITED | Stornoway GSP |  | 0 | 49.7 | 49.7 | 2027-03-31 | Scoping | Embedded | SHET | Wind Onshore | PRO-000966
a0l8e0000012hmYAAQ | Fauldielaw | Customer Name: Cairn Duhie Energy Limited -> Renewable Energy Systems Limited | CHANGED | Renewable Energy Systems Limited | Arbroath GSP |  | 0 | 49.9 | 49.9 | 2032-10-31 | Scoping | Embedded | SHET | PV Array (Photo Voltaic/solar) | PRO-004503
a0l8e0000010wklAAA | Fleet Solar PV | MW Effective From: 13/12/2026 -> 07/08/2028 | CHANGED | FLEET SOLAR LIMITED | Fleet 400kV Substation |  | 0 | 57 | 57 | 2028-08-07 | Awaiting Consents | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | PRO-002814
a0l4L0000005iieQAA | Fron Goch | Connection Site: Pont Abraham GSP -> Pont Abraham 132KV | CHANGED | NANT MITHIL ENERGY PARK LIMITED | Pont Abraham 132KV |  | 0 | 252.7 | 252.7 | 2026-10-31 | Scoping | Embedded | NGET | Wind Onshore | PRO-001563
a0l4L0000005ihPQAQ | Gaerwen Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Gwyddelwern 400kV Substation |  | 0 | 67 | 67 | 2027-06-01 | Awaiting Consents | Direct Connection | NGET | Wind Onshore | PRO-001550
a0l4L0000005iQ5QAI | Gleann Eoghainn | Connection Site: Edinbane 132/33kV Substation -> Dunvegan 132/33kV Grid Supply Point Substation | CHANGED | Renantis UK Limited | Dunvegan 132/33kV Grid Supply Point Substation |  | 0 | 25 | 25 | 2029-11-30 | Scoping | Embedded | SHET | Wind Onshore | PRO-001275
a0l4L0000005iV2QAI | Glenchamber Wind Farm | Stage: 1 -> NULL; MW Connected: 25.3 -> 27.5; Cumulative Total Capacity (MW): 52.80 MW -> 27.50 MW; MW Effective From: 31/05/2016 -> NULL; Project Number: PRO-000043-1 -> PRO-000043 | CHANGED | GLENCHAMBER WIND ENERGY LIMITED | Glenluce 132/33kV |  | 27.5 | 0 | 27.5 |  | Built | Embedded | SPT | Wind Onshore | PRO-000043
a0l4L0000005iwRQAQ | Glenmuckloch Wind Farm | MW Effective From: 29/09/2028 -> 31/05/2029 | CHANGED | GLENMUCKLOCH RENEWABLE ENERGY LIMITED | Glenmuckloch 132/33kV |  | 0 | 33.6 | 33.6 | 2029-05-31 | Awaiting Consents | Direct Connection | SPT | Wind Onshore | PRO-000300
a0l8e000000TPKNAA4 | Grimshader Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Grimshader Wind Farm Substation132 KV |  | 0 | 79.2 | 79.2 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003258
a0l4L0000005io5QAA | Hagshaw Hill Phase 1 | MW Connected: 0.0 -> 30.0; MW Increase / Decrease: 30.0 -> 0.0; MW Effective From: 31/01/2025 -> NULL; Project Status: Consents Approved -> Built | CHANGED | HAGSHAW HILL REPOWERING LTD | Hagshaw Hill Wind Farm 33kV Substation |  | 30 | 0 | 30 |  | Built | Direct Connection | SPT | Wind Onshore | PRO-000490
a0l4L0000005io6QAA | Hagshaw Hill Phase 2 | MW Connected: 0.0 -> 54.0; MW Increase / Decrease: 54.0 -> 0.0; MW Effective From: 31/01/2025 -> NULL; Project Status: Consents Approved -> Built | CHANGED | HAGSHAW HILL REPOWERING LTD | Hagshaw Hill Wind Farm 33kV Substation |  | 54 | 0 | 54 |  | Built | Direct Connection | SPT | Wind Onshore | PRO-000514
a0l4L0000005icnQAA | Harestanes West Wind Farm | Connection Site: Old Forest of Ae 33kV Substation -> Harestanes West Wind Farm 132/33kV | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Harestanes West Wind Farm 132/33kV | 1 | 0 | 56 | 56 | 2029-09-01 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-001075-1
a0l4L0000005icnQAA | Harestanes West Wind Farm | Connection Site: Old Forest of Ae 33kV Substation -> Harestanes West Wind Farm 132/33kV | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Harestanes West Wind Farm 132/33kV | 2 | 0 | 25 | 81 | 2035-07-01 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-001075-2
a0l8e000000TPKIAA4 | Heastabhal Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Heastabhal Wind Farm Substation 132 KV |  | 0 | 66 | 66 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003257
a0l4L0000005imKQAQ | High Constellation Windfarm | Connection Site: Crossaig 132kV Substation -> High Constellation 132/33kV Substation | CHANGED | HIGH CONSTELLATION WINDFARM LIMITED | High Constellation 132/33kV Substation |  | 0 | 50 | 50 | 2027-07-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-000416
a0l4L0000005iRiQAI | Hill of Towie 2 Wind Farm | Customer Name: Cairn Duhie Energy Limited -> GREENHILLS 1 LIMITED | CHANGED | GREENHILLS 1 LIMITED | Keith GSP |  | 0 | 36 | 36 | 2030-06-01 | Consents Approved | Embedded | SHET | Wind Onshore | PRO-000938
a0lJ9000000PNpTIAW | Hoolan Hills Renewable Energy Park | Gate: -> 1.0 | CHANGED | RIDGE CLEAN ENERGY LTD | Holm Hill 132kV Substation |  | 0 | 66 | 66 | 2037-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-006001 | 1
a0l4L0000005isgQAA | Kennoxhead Wind Farm | MW Effective From: 01/04/2028 -> 28/04/2028 | CHANGED | ORSTED ONSHORE UK LIMITED | Kennoxhead GSP |  | 0 | 112 | 112 | 2028-04-28 | Consents Approved | Direct Connection | SPT | Wind Onshore | PRO-000319
a0l8e000000f6hCAAQ | Kilbraur North Wind Farm | Gate: -> 1.0 | CHANGED | EDF ENERGY RENEWABLES LIMITED | Kilbraur Wind Farm Substation |  | 0 | 79.2 | 79.2 | 2031-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-003987 | 1
a0l4L0000005iynQAA | Lorg Extension Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Lorg Extension Wind Farm 132/33kV Substation |  | 0 | 33 | 33 | 2029-08-13 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-002430
a0l4L0000005ikXQAQ | Lorg Wind Farm | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Lorg Wind Farm 132/32kV |  | 0 | 69.5 | 69.5 | 2027-04-07 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000153
a0l4L0000005ifqQAA | Mwdwl Eithin Energy Park | Stage: 1 -> NULL; Cumulative Total Capacity (MW): 162.40 MW -> 81.20 MW; Project Number: PRO-001511-1 -> PRO-001511 | CHANGED | MOEL CHWA ENERGY PARK LIMITED | Gwyddelwern 400kV Substation |  | 0 | 81.2 | 81.2 | 2030-06-30 | Scoping | Direct Connection | NGET | Wind Onshore | PRO-001511
a0l4L0000005it0QAA | North Lowther Energy Initiative | Connection Site: NLEI Wind Farm Connection Substation -> NLEI Windfarm 132/33kV substation | CHANGED | NLEI LTD | NLEI Windfarm 132/33kV substation |  | 0 | 151.2 | 151.2 | 2031-04-30 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000344
a0l8e0000012hmTAAQ | North Ray Solar Farm 2 | Plant Type: Energy Storage System -> PV Array (Photo Voltaic/solar) | CHANGED | NORTH RAY SOLAR FARM 2 LTD | Grimsby West GSP |  | 0 | 180 | 180 | 2035-10-30 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | PRO-004502
a0l4L0000005iXmQAI | Norton Solar Farm | Customer Name: RWE RENEWABLES UK SOLAR AND STORAGE LIMITED -> RWE Renewables UK Solar and Storage Limited | CHANGED | RWE Renewables UK Solar and Storage Limited | Norton GSP |  | 0 | 180 | 180 | 2031-10-31 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | PRO-001875
a0l8e0000010wm8AAA | Penninghame Wind Farm | Gate: -> 1.0 | CHANGED | EDF ENERGY RENEWABLES LIMITED | Penninghame Substation |  | 0 | 60 | 60 | 2031-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-002830 | 1
a0l8e0000010wbAAAQ | Philiphaugh Wind Farm | Gate: -> 1.0 | CHANGED | EDF ENERGY RENEWABLES LIMITED | Philipaugh Substation |  | 0 | 175 | 175 | 2033-05-30 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-002708 | 1
a0l8e000001HrZ3AAK | RIGG HOUSE PV FARM | Customer Name: Firma Vogt Solar Ltd -> FVS DEAN MOOR LIMITED | CHANGED | FVS DEAN MOOR LIMITED | Harker GSP |  | 0 | 150 | 150 | 2037-10-31 | Scoping | Embedded | NGET | PV Array (Photo Voltaic/solar) | PRO-004209
a0l4L0000005ismQAA | Scoop Hill Wind Farm | Customer Name: CWP Energy Limited -> Community Windpower Limited | CHANGED | Community Windpower Limited | Scoop Hill Wind Farm 132kV Substation |  | 0 | 500 | 500 | 2027-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000327
a0lJ9000000blMrIAI | Statkraft SEWF | Gate: -> 1.0 | CHANGED | Statkraft UK Ltd | Orrin GSP |  | 0 | 100.8 | 100.8 | 2033-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | PRO-004828 | 1
a0l8e0000012hoyAAA | Stoneyfield | MW Effective From: 30/09/2024 -> 30/09/2030 | CHANGED | WIND 2 LIMITED | Rothienorman GSP |  | 0 | 15 | 15 | 2030-09-30 | Scoping | Embedded | SHET | Wind Onshore | PRO-004531
a0l4L0000005ionQAA | Strathy Wood | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Strathy Wood 132/33kV Substation | 1 | 0 | 54.4 | 54.4 | 2026-09-30 | Consents Approved | Direct Connection | SHET | Wind Onshore | PRO-000154-1
a0l4L0000005ionQAA | Strathy Wood | Customer Name: RWE RENEWABLES UK ONSHORE WIND LIMITED -> RWE Renewables UK Onshore Wind Limited | CHANGED | RWE Renewables UK Onshore Wind Limited | Strathy Wood 132/33kV Substation | 2 | 0 | 9.1 | 63.5 | 2026-09-30 | Consents Approved | Direct Connection | SHET | Wind Onshore | PRO-000154-2
a0l4L0000005imeQAA | Whitelee | Stage: 1 -> 2.0; MW Connected: 305.0 -> 0.0; MW Increase / Decrease: 0.0 -> 50.0; Project Status: Built -> Scoping; Project Number: PRO-000067-1 -> PRO-000067-2 | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Whitelee 275/33kV | 2 | 0 | 50 | 355 | 2031-05-02 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000067-2
a0l8e0000010wPRAAY | West Andershaw Wind Farm | Gate: -> 1.0 | CHANGED | WEST ANDERSHAW WIND FARM LIMITED | West Andershaw 132kV Substation |  | 0 | 85.8 | 85.8 | 2030-04-30 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-002584 | 1
a0l8e0000012gbeAAA | West Grimsby Farm | Customer Name: ELGIN ENERGY ES CO LIMITED -> Elgin Energy Holdings Limited | CHANGED | Elgin Energy Holdings Limited | Grimsby West GSP |  | 0 | 150 | 150 | 2035-10-31 | Awaiting Consents | Embedded | NGET | PV Array (Photo Voltaic/solar) | PRO-004434
a0l4L0000005imeQAA | Whitelee | Stage: 1 -> 2.0; MW Connected: 305.0 -> 0.0; MW Increase / Decrease: 0.0 -> 50.0; Project Status: Built -> Scoping; Project Number: PRO-000067-1 -> PRO-000067-2 | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Whitelee 275/33kV | 1 | 305 | 0 | 305 |  | Built | Direct Connection | SPT | Wind Onshore | PRO-000067-1
a0l4L0000005imeQAA | Whitelee | Stage: 1 -> 2.0; MW Connected: 305.0 -> 0.0; MW Increase / Decrease: 0.0 -> 50.0; Project Status: Built -> Scoping; Project Number: PRO-000067-1 -> PRO-000067-2 | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Whitelee 275/33kV | 3 | 0 | 305 | 660 | 2033-04-25 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000067-3
a0l4L0000005imeQAA | Whitelee | Stage: 1 -> 2.0; MW Connected: 305.0 -> 0.0; MW Increase / Decrease: 0.0 -> 50.0; Project Status: Built -> Scoping; Project Number: PRO-000067-1 -> PRO-000067-2 | CHANGED | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Whitelee 275/33kV | 4 | 0 | 158 | 818 | 2034-04-27 | Scoping | Direct Connection | SPT | Wind Onshore | PRO-000067-4
a0l8e0000010x0FAAQ | Woburn Solar Farm | Gate: -> 1.0 | CHANGED | SolarThree Ltd | Dunstable 400kV Substation |  | 0 | 840 | 840 | 2031-10-31 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | PRO-003033 | 1