## Pot 3
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 0
Detailed Change Records:

## Pot 1
Change Type | Count
New Entries | 0
Deleted Entries | 0
Modified Entries | 12
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
MODIFIED | Gate Status: '' -> '1' | Brown Rig Wind Farm | SSE Renewables Services (UK) Limited | Hawick 132kV Substation |  | 0.0 | 114.0 | 114.0 | 2033-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e000001HoYjAAK | PRO-004083 | 1
MODIFIED | Gate Status: '' -> '1' | Butlers Wood PV & BESS Station | IB VOGT UK LTD | South Anglia Connection Node B 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012grtAAA | PRO-004467 | 1
MODIFIED | Gate Status: '' -> '1' | Feckenham PV & BESS Station | IB VOGT UK LTD | Feckenham 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPHOAA4 | PRO-003233 | 1
MODIFIED | Gate Status: '' -> '1' | Huntingdon High Impact Energy Hub 2 | TELIS ENERGY UK LIMITED | West Anglia Connection Node H 400kVSubstation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012hmxAAA | PRO-004508 | 1
MODIFIED | Gate Status: '' -> '1' | Letch Beck Energy Park | Renewable Energy Systems Limited | Norton East 400kV Substation |  | 0.0 | 600.0 | 600.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L000002yQZUQA2 | PRO-002550 | 1
MODIFIED | Gate Status: '' -> '1' | Leadenham High Impact Green Energy Hub | TELIS ENERGY UK LIMITED | Trent Valley South Connection Node A 400kV |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000000f40kAAA | PRO-003815 | 1
MODIFIED | Gate Status: '' -> '1' | Lightsource Berthlwyd | Lightsource Renewable UK Development Limited | MID WALES CONNECTION NODE A 400KV SUBSTATION |  | 0.0 | 240.0 | 240.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0lJ9000000blP7IAI | PRO-004858 | 1
MODIFIED | Gate Status: '' -> '1' | Lightsource Marston Vale 240MW PV+BESS | Lightsource Renewable UK Development Limited | Marston Vale 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f6OSAAY | PRO-003981 | 1
MODIFIED | Gate Status: '' -> '1' | Lightsource Patford Bridge | Lightsource Renewable UK Development Limited | Derbyshire Connection Node I 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000blL0IAI | PRO-004807 | 1
MODIFIED | Gate Status: '' -> '1' | Lightsource Willington | Lightsource Renewable UK Development Limited | Derbyshire Connection Node D 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;Wind Onshore | a0lJ9000000blMSIAY | PRO-004824 | 1
MODIFIED | Gate Status: '' -> '1' | Lightsource Yaxley PV | Lightsource Renewable UK Development Limited | North Anglia Connection Node E 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f4ArAAI | PRO-003837 | 1
MODIFIED | Gate Status: '' -> '1' | Necton High Impact Energy Hub | TELIS ENERGY UK LIMITED | North Anglia Connection Node B 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012hoPAAQ | PRO-004524 | 1