## Pot 3
Change Type | Count
New Entries | 1
Deleted Entries | 0
Modified Entries | 6
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
NEW | New entry in TEC register. | Celtic 2 Offshore Wind Farm | RWE Offshore Wind | Alverdiscott 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2031-10-31 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005ia5QAA | PRO-002007 | 1
MODIFIED | Connection Date: '2031-10-31' -> '2036-12-06' | Gwynt Glas Offshore Wind Farm | GWYNT GLAS OFFSHORE WIND FARM LIMITED | Alverdiscott 400kV Substation |  | 0.0 | 300.0 | 300.0 | 2036-12-06 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005iiyQAA | PRO-001772 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2033-10-30' | Havbredey | HAVBREDEY LIMITED | New Dounreay 400kV substation |  | 0.0 | 1500.0 | 1500.0 | 2033-10-30 | Scoping | Direct Connection | SHET | Wind Offshore | a0l4L0000005iNUQAY | PRO-001628 | 1
MODIFIED | Connection Date: '2037-10-30' -> '2037-07-30' | Isle of Man Offshore Wind Farm | Mooir Vannin Offshore Wind Farm Limited | IMW01 OFFSHORE 275/66KV OFFSHORE SUBSTATION |  | 0.0 | 1320.0 | 1320.0 | 2037-07-30 | Scoping | Direct Connection | NGET | Wind Offshore | a0l8e000000ex1KAAQ | PRO-003698 | 1
MODIFIED | Gate Status: '' -> '1' | Llywelyn Extension Offshore Wind Farm | Renantis UK Limited | LLYWELYN EXTENSION OFFSHORE WIND FARM 66/275KV OFFSHORE SUBSTATION |  | 0.0 | 1000.0 | 1000.0 | 2036-12-06 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005iySQAQ | PRO-002406 | 1
MODIFIED | Connection Date: '2028-11-01' -> '2031-10-30' | Merlin Offshore Wind Farm | OFFSHORE WIND LIMITED | Alverdiscott 400kV Substation |  | 0.0 | 300.0 | 300.0 | 2031-10-30 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005ihVQAQ | PRO-001728 | 1
MODIFIED | Connection Date: '2029-03-31' -> '2036-12-06' | Petroc Offshore Wind Farm | BLUEFLOAT ENERGY UK HOLDINGS LIMITED | Alverdiscott 400kV Substation |  | 0.0 | 300.0 | 300.0 | 2036-12-06 | Scoping | Direct Connection | NGET | Wind Offshore | a0l4L0000005j1UQAQ | PRO-001661 | 1

## Pot 1
Change Type | Count
New Entries | 14
Deleted Entries | 0
Modified Entries | 67
Detailed Change Records:
Change Type | Change Details | Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | Agreement Type | HOST TO | Plant Type | Project ID | Project Number | Gate
NEW | New entry in TEC register. | Bulls Lodge Farm | 548 UK INVESTMENT HOLDINGS LIMITED | Braintree 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2033-04-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wYOAAY | PRO-002676 | 1
NEW | New entry in TEC register. | Bulls Lodge Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Braintree 400kV Substation |  | 0.0 | 350.0 | 350.0 | 2033-03-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wdkAAA | PRO-002737 | 1
NEW | New entry in TEC register. | Elmya Gissing BESS & PV | RPC ELMYA CARNATION GISSING LIMITED | North Anglia Connection Node A 400kV |  | 0.0 | 900.0 | 900.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012jJxAAI | PRO-004657 | 1
NEW | New entry in TEC register. | Elmya Kilworth BESS & PV | RPC ELMYA CARNATION KILWORTH LIMITED | Derbyshire Connection Node H 400kV Substation |  | 0.0 | 850.0 | 850.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012khrAAA | PRO-004739 | 1
NEW | New entry in TEC register. | Elmya Morningside BESS & PV | ELMYA RPC UK MORNINGSIDE LIMITED | Elmya Morningside 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012fGMAAY | PRO-004396 | 1
NEW | New entry in TEC register. | Enderby Farm | 548 UK INVESTMENT HOLDINGS LIMITED | Earl Shilton 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wYsAAI | PRO-002682 | 1
NEW | New entry in TEC register. | Enderby Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Earl Shilton 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010weEAAQ | PRO-002743 | 1
NEW | New entry in TEC register. | Marston Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Marston Vale 400kV Substation |  | 0.0 | 350.0 | 350.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wdzAAA | PRO-002740 | 1
NEW | New entry in TEC register. | Patford Bridge Farm | 548 UK INVESTMENT HOLDINGS LIMITED | Patford Bridge 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wYiAAI | PRO-002680 | 1
NEW | New entry in TEC register. | Patford Bridge Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | New Patford Bridge 400kV Substation |  | 0.0 | 350.0 | 350.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010we4AAA | PRO-002741 | 1
NEW | New entry in TEC register. | Ryhall Farm | 548 UK INVESTMENT HOLDINGS LIMITED | Casewick 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wZ2AAI | PRO-002684 | 1
NEW | New entry in TEC register. | Sundon Farm | 548 UK INVESTMENT HOLDINGS LIMITED | Dunstable 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2032-10-29 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wZ7AAI | PRO-002685 | 1
NEW | New entry in TEC register. | Sundon Farm 2 | 548 UK INVESTMENT HOLDINGS LIMITED | Dunstable 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2032-10-29 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010weTAAQ | PRO-002746 | 1
NEW | New entry in TEC register. | Yaxley Farm | 548 UK INVESTMENT HOLDINGS LIMITED | Yaxley 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wZMAAY | PRO-002688 | 1
MODIFIED | Connection Date: '2031-05-30' -> '2031-05-31' | Airds Hill Wind Farm | ONPATH ENERGY LIMITED | Airds Hill WindFarm 132kV Substation |  | 0.0 | 80.0 | 80.0 | 2031-05-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0l8e0000011ymbAAA | PRO-003545 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2037-10-31' | Astwood Solar Farm GEC | ASTWOOD GREEN ENERGY LTD | West Anglia Connection Node G 400kV Substation |  | 0.0 | 520.0 | 520.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000blKHIAY | PRO-004799 | 1
MODIFIED | Connection Date: '2031-10-31' -> '2037-10-31' | Beinn Dearg | GALILEO 19 LIMITED | NEW TAYNUILT 132 KV SUBSTATION |  | 0.0 | 290.0 | 290.0 | 2037-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0lJ9000000PM5NIAW | PRO-005936 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2034-10-30' | Bicker Fen | IB VOGT UK LTD | Trent Valley South Connection Node C 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2034-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HxlxAAC | PRO-004295 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2037-10-30' | Bradford Solar Farm | SolarFour Ltd | Staffordshire Connection Node A 400kV Substation |  | 0.0 | 960.0 | 960.0 | 2037-10-30 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | a0l8e0000011yCAAAY | PRO-003511 | 1
MODIFIED | Connection Date: '2033-10-30' -> '2032-06-01' | Bramford GEC (Ethos Green) | BRAMFORD GREEN ENERGY CENTRE LTD | Bramford B 400kV Substation |  | 0.0 | 650.0 | 650.0 | 2032-06-01 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f8NgAAI | PRO-004027 | 1
MODIFIED | Connection Date: '2037-03-10' -> '2037-05-10' | Caegarw Farm | Downing Renewable Developments LLP | Margam B 400kV Substation |  | 0.0 | 350.0 | 350.0 | 2037-05-10 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wRwAAI | PRO-002605 | 1
MODIFIED | Connection Date: '2033-09-30' -> '2033-09-14' | Capenhurst | ENSO GREEN HOLDINGS Q LIMITED | Capenhurst 275kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-09-14 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ioiQAA | PRO-000540 | 1
MODIFIED | Connection Date: '2029-10-30' -> '2027-10-31' | Capenhurst Tertiary | ENSO GREEN HOLDINGS Q LIMITED | Capenhurst 400kV Substation |  | 0.0 | 57.0 | 57.0 | 2027-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikTQAQ | PRO-002162 | 1
MODIFIED | Connection Date: '2031-10-31' -> '2030-10-31' | Ceislein Wind Farm | RWE Renewables UK Onshore Wind Limited | Ceislien Wind Farm |  | 0.0 | 85.8 | 85.8 | 2030-10-31 | Scoping | Direct Connection | SHET | Wind Onshore | a0l8e000000TPK3AAO | PRO-003256 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2031-10-31' | Cellarhead | ENSO GREEN HOLDINGS X LIMITED | Cellarhead 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2031-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ikWQAQ | PRO-002161 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2037-10-31' | Chalmerston Windfarm | BROCKWELL ENERGY LIMITED | CHALMERSTON WINDFARM 132kV SUBSTATION |  | 0.0 | 75.0 | 75.0 | 2037-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e000001Ho2yAAC | PRO-004057 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2034-10-30' | Cottam-Ryhall Solar & BESS | CRH RENEWABLES LIMITED | Trent Valley South Connection Node B 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2034-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HozEAAS | PRO-004100 | 1
MODIFIED | Connection Date: '2038-11-30' -> '2038-10-01' | Cowley Farm 2 | COWLEY 7 RENEWABLES LTD | Cowley 400kV Substation |  | 0.0 | 700.0 | 700.0 | 2038-10-01 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wdpAAA | PRO-002738 | 1
MODIFIED | Connection Date: '2032-10-29' -> '2031-10-31'; Gate Status: '' -> '1' | Craighead Wind Farm | GALILEO 02 LIMITED | CRAIGHEAD WIND FARM 132kV SUBSTATION |  | 0.0 | 77.0 | 77.0 | 2031-10-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e0000010wlKAAQ | PRO-002821 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2037-10-30'; Gate Status: '' -> '1' | Daventry High Impact Green Energy Hub (HIGEH) 1 | TELIS ENERGY UK LIMITED | Derbyshire Connection Node A 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000000ewvzAAA | PRO-003686 | 1
MODIFIED | Connection Date: '2033-10-30' -> '2034-10-30' | Denton Estate Solar PV and BESS | ELGIN ENERGY ES CO LIMITED | Navenby 132kV Substation |  | 0.0 | 129.0 | 129.0 | 2034-10-30 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012gYuAAI | PRO-004417 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2031-04-01' | Deucheran Hill 2 Wind Farm | RWE Renewables UK Onshore Wind Limited | DEUCHERAN HILL 2 132KV SUBSTATION |  | 0.0 | 165.0 | 165.0 | 2031-04-01 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l8e000001HrYyAAK | PRO-004208 | 1
MODIFIED | Connection Date: '2036-11-11' -> '2036-11-01'; Gate Status: '' -> '1' | Dunan Hill | PERIGUS ENERGY UK LIMITED | Dunan Hill 400kV substation |  | 0.0 | 249.9 | 249.9 | 2036-11-01 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l8e0000012gbZAAQ | PRO-004433 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2036-12-06' | East Claydon High Impact Green Energy Hub (HIGEH) 1 | EAST CLAYDON STORAGE LIMITED | East Claydon 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2036-12-06 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Reactive Compensation;Wind Onshore | a0l8e0000010wW3AAI | PRO-002652 | 1
MODIFIED | Connection Date: '2033-10-30' -> '2033-10-31' | EcoWymondley | Econergy International Limited | Wymondley 2 400kV Substation |  | 0.0 | 249.0 | 249.0 | 2033-10-31 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005j9sQAA | PRO-002529 | 1
MODIFIED | Gate Status: '' -> '1' | Edinbane Windfarm | VATTENFALL WIND POWER LTD | Edinbane 132/33kV Substation | 1.0 | 41.4 | 0.0 | 41.4 |  | Built | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l4L0000005ioIQAQ | PRO-000135-1 | 1
MODIFIED | Gate Status: '' -> '1' | Edinbane Windfarm | VATTENFALL WIND POWER LTD | Edinbane 132/33kV Substation | 2.0 | 0.0 | 48.6 | 90.0 | 2033-04-30 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l4L0000005ioIQAQ | PRO-000135-2 | 1
MODIFIED | Connection Date: '2027-08-01' -> '2028-08-31' | Enderby Tertiary | CLUMP FARM SOLAR LIMITED | Enderby 400kV Substation |  | 0.0 | 57.0 | 57.0 | 2028-08-31 | Consents Approved | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | a0l4L0000005izzQAA | PRO-000430
MODIFIED | Connection Date: '2032-10-31' -> '2034-10-31' | EPL Suffolk | EPL NEWCO9 LIMITED | North Anglia Connection Node E 400kV Substation |  | 0.0 | 480.0 | 480.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f5BYAAY | PRO-003916 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2035-10-30' | Epworth PV & BESS Station | IBV KELFIELD SOLAR LTD | Trent Valley North Connection Node B 400kV Substation |  | 0.0 | 150.0 | 150.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000ew2TAAQ | PRO-003644 | 1
MODIFIED | Connection Date: '2029-10-30' -> '2035-10-30' | Ewerby | Leoda Solar Farm Limited | Navenby 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iaDQAQ | PRO-002017 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2037-10-30' | Feckenham PV & BESS Station | IB VOGT UK LTD | Feckenham 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPHOAA4 | PRO-003233 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2039-10-31' | Frome Valley Energy Park | BIOSOUTH ENERGY LIMITED | Chickerell-Mannington 400kV Substation |  | 0.0 | 43.2 | 43.2 | 2039-10-31 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000Pa9MIAS | PRO-006617 | 1
MODIFIED | Connection Date: '2031-10-31' -> '2031-11-30'; Gate Status: '' -> '1' | Glen Lednock | Glen Lednock Wind Farm Limited | Glen Lednock 132kV Substation |  | 0.0 | 165.0 | 165.0 | 2031-11-30 | Scoping | Direct Connection | SHET | Energy Storage System;Wind Onshore | a0l8e0000012ho5AAA | PRO-004520 | 1
MODIFIED | Connection Date: '2031-10-30' -> '2031-04-30' | Glenrothes Hybrid BESS & Solar PV | TAGENERGY DEVELOPMENT UK LIMITED | Conland Substation |  | 0.0 | 200.0 | 200.0 | 2031-04-30 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPJUAA4 | PRO-003252 | 1
MODIFIED | Connection Date: '2032-06-30' -> '2032-04-30' | Grangemouth Hybrid BESS & Solar PV | TAGENERGY DEVELOPMENT UK LIMITED | Letham 400/275kV substation |  | 0.0 | 300.0 | 300.0 | 2032-04-30 | Scoping | Direct Connection | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPJeAAO | PRO-003254 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2031-03-01' | Greta IV (b) | Greta IV Limited | North Anglia Connection Node B 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2031-03-01 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012guYAAQ | PRO-004499 | 1
MODIFIED | Connection Date: '2028-10-30' -> '2028-10-31' | Hams Hall Green Energy Centre | HAMS HALL NG LIMITED | Hams Hall 400kV Substation | 1.0 | 0.0 | 400.0 | 400.0 | 2028-10-31 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iirQAA | PRO-001765-1 | 1
MODIFIED | Connection Date: '2031-10-31' -> '2029-11-01'; Gate Status: '' -> '1' | High Marnham Solar Farm | ANESCO LIMITED | High Marnham 400kV Substation |  | 0.0 | 99.9 | 99.9 | 2029-11-01 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | a0l4L0000005iY7QAI | PRO-001845 | 1
MODIFIED | Connection Date: '2029-10-30' -> '2032-10-30' | Ironbridge Green Energy Centre | IRONBRIDGE GREEN NG LIMITED | Ironbridge 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2032-10-30 | Awaiting Consents | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005igDQAQ | PRO-001711 | 1
MODIFIED | Connection Date: '2028-10-31' -> '2033-10-31' | Keith Solar Farm | KEITH SOLAR PV LIMITED | Keith Solar Farm 275kV Substation |  | 0.0 | 150.0 | 150.0 | 2033-10-31 | Scoping | Direct Connection | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010waMAAQ | PRO-002699 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2037-10-30' | Kenwick Solar | ANESCO LIMITED | Shrewsbury 400kV Substation |  | 0.0 | 430.85 | 430.85 | 2037-10-30 | Scoping | Direct Connection | NGET | PV Array (Photo Voltaic/solar) | a0lJ9000000PNKlIAO | PRO-005989 | 1
MODIFIED | Connection Date: '2028-10-31' -> '2029-10-31' | Kirkton Wind Farm | Kirkton Wind Farm Limited | Connagill 275kV Substation |  | 0.0 | 60.0 | 60.0 | 2029-10-31 | Awaiting Consents | Direct Connection | SHET | Wind Onshore | a0l4L0000005ikRQAQ | PRO-001811 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2034-10-30' | Leadenham High Impact Green Energy Hub | TELIS ENERGY UK LIMITED | Trent Valley South Connection Node A 400kV |  | 0.0 | 1000.0 | 1000.0 | 2034-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000000f40kAAA | PRO-003815 | 1
MODIFIED | Connection Date: '2033-12-31' -> '2033-12-01' | Lethen Wind Farm | FRED OLSEN RENEWABLES LIMITED | Lethen Wind Farm 132/33kV Substation |  | 0.0 | 114.0 | 114.0 | 2033-12-01 | Scoping | Direct Connection | SHET | Wind Onshore | a0l4L0000005ivMQAQ | PRO-002307 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2037-10-30'; Gate Status: '' -> '1' | Lightsource Enderby PV+BESS | Lightsource Renewable UK Development Limited | Derbyshire Connection Node B 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f4dhAAA | PRO-003854 | 1
MODIFIED | Connection Date: '2037-10-30' -> '2038-10-30' | Lightsource Ferryside PV | Lightsource Renewable UK Development Limited | South Wales West Connection Node C 400kV |  | 0.0 | 240.0 | 240.0 | 2038-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000eyX9AAI | PRO-003761 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2034-10-30' | Lightsource Marston Vale 240MW PV+BESS | Lightsource Renewable UK Development Limited | Marston Vale 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2034-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f6OSAAY | PRO-003981 | 1
MODIFIED | Gate Status: '' -> '1' | Market Harborough Green Energy Hub | TELIS ENERGY UK LIMITED | West Anglia Connection Node F 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2034-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;Hydro;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e00000120NNAAY | PRO-003623 | 1
MODIFIED | Connection Date: '2034-10-30' -> '2034-10-31' | Mid Hill | Invenergy Development UK Ltd | Mid Hill 132kV Substation |  | 0.0 | 228.0 | 228.0 | 2034-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000PDlIIAW | PRO-005000 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2034-10-30'; Gate Status: '' -> '1' | Morton Manor PV & BESS Station | IB VOGT UK LTD | High Marnham 400kV Substation |  | 0.0 | 240.0 | 240.0 | 2034-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f41nAAA | PRO-003827 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2037-10-30' | Nant Helen | SOLAR SECURITIES LIMITED | South Wales West Connection Node A 400kV Substation |  | 0.0 | 500.0 | 500.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wgFAAQ | PRO-002766 | 1
MODIFIED | Connection Date: '2034-10-30' -> '2034-05-30' | Navenby Farm | CODDINGTON 10 RENEWABLES LTD | Coddington 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2034-05-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HnxlAAC | PRO-004045 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2037-10-30' | New Marton Solar Farm - PVDP | SolarFour Ltd | Cheshire Connection Node A 400kV Substation |  | 0.0 | 780.0 | 780.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HpecAAC | PRO-004139 | 1
MODIFIED | Connection Date: '2030-10-31' -> '2037-10-31' | Ninfield | Ninfield 10 Renewables Limited | Sussex and Romney Connection Node A 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2037-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPQqAAO | PRO-003408 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2038-10-30' | Noventum -Long Stratton | Noventum Power Solar 8 Limited | North Anglia Connection Node A 400kV |  | 0.0 | 460.0 | 460.0 | 2038-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000012gHLAAY | PRO-004405 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2033-10-30' | Pelham 400 | ENSO GREEN HOLDINGS X LIMITED | West Anglia Connection Node E 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2033-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000blPqIAI | PRO-004867 | 1
MODIFIED | Connection Date: '2037-10-31' -> '2037-10-30' | Pentir Green Energy Centre | INNOVA RENEWABLES LIMITED | Pentir 400kV Substation |  | 0.0 | 1025.0 | 1025.0 | 2037-10-30 | Awaiting Consents | Direct Connection | NGET | Demand;Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005il9QAA | PRO-002345 | 1
MODIFIED | Connection Date: '2032-10-30' -> '2032-10-31' | Rat Hall Mod App | Kingsway Solar Farm Limited | South Anglia Connection Node C 400kV Substation | 1.0 | 0.0 | 200.0 | 200.0 | 2032-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f41YAAQ | PRO-003824-1 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2037-10-31' | Ratcliffe on Soar | Starlight Energy SPV 4 Limited | Derbyshire Connection Node F 132KV |  | 0.0 | 200.0 | 200.0 | 2037-10-31 | Scoping | Embedded | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000TPFSAA4 | PRO-003224 | 1
MODIFIED | Connection Date: '2028-10-30' -> '2030-05-31' | Rowancraig Wind Farm | Koehler Renewable Energy UK Limited | ROWANCRAIG WIND FARM 33KV SUBSTATION |  | 0.0 | 40.0 | 40.0 | 2030-05-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l4L0000005iMUQAY | PRO-002455 | 1
MODIFIED | Connection Date: '2034-10-31' -> '2037-10-30' | Rugby High Impact Green Energy Hub (HIGEH) 1 | TELIS ENERGY UK LIMITED | Enderby 400kV Substation |  | 0.0 | 1000.0 | 1000.0 | 2037-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;Nuclear;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e00000120NcAAI | PRO-003626 | 1
MODIFIED | Connection Date: '2025-06-30' -> '2029-04-30' | SAGE | SAGE NORTH SEA LIMITED | St Fergus Mobil 132/11kV Substation |  | 0.0 | 20.0 | 20.0 | 2029-04-30 | Scoping | Direct Connection | SHET | Demand;PV Array (Photo Voltaic/solar) | a0l4L0000005iybQAA | PRO-002119 | 1
MODIFIED | Connection Date: '2035-10-30' -> '2032-07-31' | Seat Hill Wind Farm | PERIGUS ENERGY UK LIMITED | Seat Hill 132kV Substation |  | 0.0 | 90.0 | 90.0 | 2032-07-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000PEyBIAW | PRO-005850 | 1
MODIFIED | Connection Date: '2032-04-01' -> '2032-03-30'; Gate Status: '' -> '1' | Sheirdrim Wind Farm | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Sheirdrim 132kV Substation |  | 0.0 | 84.0 | 84.0 | 2032-03-30 | Scoping | Direct Connection | SHET | Wind Onshore | a0l4L0000005icwQAA | PRO-001066 | 1
MODIFIED | Connection Date: '2030-12-31' -> '2030-12-13'; Gate Status: '' -> '1' | Tarenni | TARENNI ENERGY PARK LIMITED | Rhigos 400kV Substation |  | 0.0 | 188.0 | 188.0 | 2030-12-13 | Scoping | Direct Connection | NGET | Wind Onshore | a0l4L0000005iNdQAI | PRO-001641 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2036-07-31' | Upper Beoch Windfarm | BROCKWELL ENERGY LIMITED | New Cumnock North 132kV Substation |  | 0.0 | 80.0 | 80.0 | 2036-07-31 | Scoping | Direct Connection | SPT | Wind Onshore | a0l8e000001HoGMAA0 | PRO-004068 | 1
MODIFIED | Connection Date: '2032-10-31' -> '2029-10-31' | Waltham Cross PV & BESS Sub | EPPING ENERGY PARK LIMITED | Waltham Cross B 400kV Substation |  | 0.0 | 249.9 | 249.9 | 2029-10-31 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0lJ9000000PERuIAO | PRO-005801 | 1
MODIFIED | Connection Date: '2033-10-31' -> '2035-10-30' | West Melton PV & BESS Station | IBV WEST MELTON SOLAR PARK LIMITED | Leeds North Connection Node C 400kV Substation |  | 0.0 | 200.0 | 200.0 | 2035-10-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HoBfAAK | PRO-004061 | 1
MODIFIED | Connection Date: '2034-10-01' -> '2034-10-31' | Windburn Wind Farm | WINDBURN WIND FARM LIMITED | Devonside 132kV Substation |  | 0.0 | 75.0 | 75.0 | 2034-10-31 | Scoping | Direct Connection | SPT | Energy Storage System;Wind Onshore | a0lJ9000000POgFIAW | PRO-006075 | 1
MODIFIED | Connection Date: '2032-10-31' -> '2032-01-30' | Wymondley | ENSO GREEN HOLDINGS LIMITED | Wymondley 400kV Substation |  | 0.0 | 400.0 | 400.0 | 2032-01-30 | Scoping | Direct Connection | NGET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iyNQAQ | PRO-002187 | 1